[image: image1.png]Paragon




VOLUME 2
ARCHITECTURAL OPERATION AND MAINTENANCE MANUAL

For:

Royal Court Apartments 
49-59 Gloucester Terrace, 

London, 

W2 3DQ
[image: image2.png]Paragon




[image: image3.png]



ARCHITECTURAL

O&M MANUAL

[image: image4.jpg]



Royal Court Apartments
Volume 2
Architectural 

Site Address:

Royal Court Apartments

49-59 Gloucester Terrace, 
London, 
W2 3DQ
Start Date: December 2014
Finish Date: March 2016
Contents

21.
Structural Steel Work & Associated BWI – Construction Solutions Ltd


82.
Windows – Flexwood Joinery


163.
Partitions & Drylining – AJ Hills Ltd


214.
Curtains & Soft Furnishings – J.G. Interiors Ltd


275.
Case Goods / Joinery – Forest Contracts Ltd


346.
Kitchens – Pepper Kitchens Ltd


427.
Roofing – Itech Roofing


488.
Fire Curtains – Coopers Fire


549.
Flooring – Hunter Flooring Ltd


5810.
Plastering – KC Plastering


6211.
Fire Protection – Kilnbridge Fire Protection Ltd


6612.
Fire Suppression – Flamefast Ltd


7113.
Decorations – LG Decorating


7614.
Door Locks – NSP Security Ltd


8215.
Sealants – O’Flynn Sealant Ltd


8516.
Joinery – Regal Construction 2000 Ltd


9517.
Facade Repairs – Restore London Ltd


10018.
Man Safe System – Safesite Ltd


10519.
Glass Doors – Saralan Glass Designs Ltd


11120.
Bar – ServaClean Ltd


11621.
Builders Work – SHACA Construction Ltd


12122.
Tiling – Stone & Ceramics Ltd


12523.
Steelwork – Warwick Engineering Ltd


13024.
Waterproofing – Harrison Waterproofing Ltd


13525.
Toilet IPS & Cubicles – Excelsior Panelling Systems Ltd


14426.
UPVC Basement Doors – Feature Architectural Fabrications


15027.
Balustrade – Cannon Glass & Glazing Ltd


15728.
Roof Ladder – T&I Solutions Ltd


16129.
Drainage Works – Clear Drains UK Ltd


16430.
Secondary Glazing – Selectaglaze Ltd




Contents
1. Structural Steel Work & Associated BWI – Construction Solutions Ltd
Contents

31.1.
Contractors Details


31.2.
Scope of works


41.3.
Suppliers Directory


51.4.
Manufacturers Directory


51.5.
Equipment / Materials Information - Hilti


51.6.
Equipment / Materials Information – C&C Site Services


61.7.
Operation and Maintenance Procedures


61.8.
Recommended Spares


61.9.
Guarantees


61.10.
Testing and Commissioning Certificates


71.11.
Drawings


71.12.
Residual Risk


71.13.
Safety Information relating to any maintenance / operation tools left on site


71.14.
Other Information


71.15.
Manufacturers Literature




Structural Steel
1.1. Contractors Details

Construction Solutions Ltd

Unit 3 The Crystal Centre,

Elmgrove Road,

Harrow

London

HA1 2HP
Tony Clancy

Andy Barrons (site)

Jack Kaczmarek (site)

Tel: 020 8861 1535/ 07930 995420/ 07811 950654

Email: abarrons@constructionsolutions.ltd.uk

1.2. Scope of works

· Design, Supply & Install all works required to install Box Frame as detailed on the Structural Engineers drawings.

· Installation of new foundations.

· Supply & Install all works required to install the Lift Pits directed.

· Supply install all works required to install all structural steel & padstones in forming new lift shaft & stairwells.

· Supply & Install all structural steel & padstones in Nos 45-55 1st - 4th Floors

· Carry out all Builders Work; Brick up existing door openings, Remove chimney breasts and cart away, infill flues with solid masonry fully bonded into existing brickwork, Remove hearth brick work from between joist and cart away.

Structural Steel
1.3. Suppliers Directory

	Supplier Name
	Details

	Cannon Steel
	Walcot Road

Brimsdown

Enfield Middlesex

EN3 7NF

020 8805 4070

020 8805 6987

	Keyline
	12 Scrubs Lane

Harlesden

London

NW10 6RB

020 8960 0911

	London Concrete
	77 Boston Manor Rd

Brentford, Middlesex

TW8 9JQ

0208 3807300

	South London Timber
	The Old Gas Works

709 Old Kent Road

London

SE15 1JZ

020 7252 8383

020 7252 8668

	Travis Perkins
	77 South Lambeth Road

Vauxhall

London

SW8 1RJ

020 7582 4255

	Hendricks
	Nunn Brook Road

Huthwaite

Sutton-In-Ashfield

Nottinghamshire

NG17 2HU

01623 440 330

	Lords Builders Merchants
	Lords Park Royal

Unit 1, Radford Industrial Est.,

Goodhall Street,

London

NW10 6UA

020 8963 7530

020 8963 7539

	Lawsons
	Tyttenhanger Farm,

Coursers Road,

Colney Health,

Hertfordshire,

AL4 0PG

01623 440 330


Structural Steel
1.4. Manufacturers Directory

	Manufacturer Name
	Details

	Hilti
	1 Trafford Wharf Road

Trafford Park

Manchester

M17 1BY

0800 886 100

0800 886 200

	VJ Technology
	Technology House

Brunswick Road

Cobbs Wood Industrial Estate

Ashford

Kent TN23 1EN

01233 637695

	C&C Site Services
	Gainsborough Road, 

Rainham, 

Essex 

RM13 7DP

01708 522185


1.5. Equipment / Materials Information - Hilti
	Description of Item
	Resin

	Model / Part Number
	MD 2500

	Location installed
	Brickwork

	Data
	See Attached Files at end of section


	Description of Item
	Pull Test

	Model / Part Number
	Hat 28

	Location installed
	Brickwork

	Data
	See Attached Files at end of section


1.6. Equipment / Materials Information – C&C Site Services

	Description of Item
	Structural Steel

	Data
	N/A


Structural Steel 

1.7. Operation and Maintenance Procedures

N/A
1.8. Recommended Spares

N/A
1.9. Guarantees

N/A

1.10. Testing and Commissioning Certificates

01121401 Pull Test

UXB23396940_01 Concrete Test Cube Report

UXB23396941_01 Concrete Test Cube Report

UXB23396942_01 Concrete Test Cube Report

UXB23434730_01 Concrete Test Cube Report

UXB23434731_01 Concrete Test Cube Report

UXB23469711_01 Concrete Test Cube Report

UXB23469712_01 Concrete Test Cube Report

BES 6001 Lafarge Cert 559207

BES 6001 Tarmac Cert 567267

EMAS Lafarge Cert

ISO 14001 Lafarge 506166

ISO 14001 Tarmac EMS 507669

See Attached Files
For Hard Copy please view Certificates in Volume 2A

Structural Steel
1.11. Drawings

N/A
1.12. Residual Risk

Please refer to “Height Regulations” for any future works relating to maintenance or removal of equipment at high level.  Always use safety systems that are in place.

Due to the weight of the materials, proper lifting equipment and additional staff should be available and always used to ensure the safety of operatives and to fulfil the requirements of the “Manual Handling Operations Regulations 1992”, in lifting weights of more than 25kg.

1.13. Safety Information relating to any maintenance / operation tools left on site

N/A
1.14. Other Information

N/A
1.15. Manufacturers Literature

Hilti Resin MD 2500 Data Sheet

Hilti Pull Test Hat 28 Data Sheet

See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
2. Windows – Flexwood Joinery
Contents

92.1.
Contractors Details


92.2.
Scope of works


92.3.
Suppliers Directory


92.4.
Manufacturers Directory


102.5.
Equipment / Materials Information – Flexwood Joinery


102.6.
Equipment / Materials Information – Remmers (UK) Ltd


102.7.
Operation / Maintenance Procedures not included in manufacturers literature


112.8.
Recommended Spares


112.9.
Guarantees


122.10.
Testing and Commissioning Certificates


122.11.
Drawings


152.12.
Residual Risk


152.13.
Safety Information relating to any maintenance / operation tools left on site


152.14.
Other Information


152.15.
Manufacturers Literature




Windows
2.1. Contractors Details

Flexwood Joinery 

282a High Road

Loughton

Essex

IG10 1RB

Francois Swanepoel

Tel: 0208 502 4606

Email: francois@flexwoodjoinery.com

2.2. Scope of works

To supply and install bespoke windows as per Drawings
2.3. Suppliers Directory

N/A
2.4. Manufacturers Directory

	Manufacturer Name
	Details

	Flexwood Joinery 


	282a High Road

Loughton

Essex

IG10 1RB

Francois Swanepoel

Tel: 0208 502 4606

Email: francois@flexwoodjoinery.com

	Remmers (UK) Limited Crawley


	Unit, B1 Fleming Way, 

Crawley 

RH10 9NN

Phone:01293 594010


Windows
2.5. Equipment / Materials Information – Flexwood Joinery
	Description of Item
	Windows

	Model / Part Number
	Bespoke

	Location installed
	Throughout – as per Drawings

	Data
	See Attached Files at end of section


2.6. Equipment / Materials Information – Remmers (UK) Ltd

	Description of Item
	Top Coat

	Model / Part Number
	Induline DW 690 RAL 9016

	Location installed
	Throughout – as per Drawings

	Data
	See Attached Files at end of section


	Description of Item
	Primer and impregnator

	Model / Part Number
	Induline GW 306 White

	Location installed
	Throughout – as per Drawings

	Data
	See Attached Files at end of section


	Description of Item
	Intermediate Primer

	Model / Part Number
	Induline ZW 400

	Location installed
	Throughout – as per Drawings

	Data
	See Attached Files at end of section


2.7. Operation / Maintenance Procedures not included in manufacturers literature

GLASS AND GLAZING

Once the glass has been fitted there will be no maintenance required. The glass surfaces may be cleaned by using a warm water and mild detergent mix applied to the face of the glass and removed with a neoprene blade wiping the solution to the bottom of the pane of glass where any excess fluid can be removed with a soft cloth

Alternatively a suitable domestic spray applied glass cleaner can be used following manufacturers recommendations.

PAINTED ITEMS OF JOINERY

All painted items of joinery are painted in an acid catalyst paint finish this forms a tough durable finish which requires very little maintenance. Any surface cleaning required should be carried out using a warm water/mild detergent mix applied and dried off with a soft clean cloth. Household spray polishes may also be used but care must be taken as excessive polishing may alter the sheen appearance, The use of abrasive cream cleaners is not recommended as they can damage the surface of the paint finish, any heavy marking may be removed with a little spirit based cleaner applied with a soft clean cloth.

Operation & Maintenance Instructions

See Attached Files
Windows
2.8. Recommended Spares

N/A
2.9. Guarantees

The Glazing Unit

The company guarantees this unit for a period of ten years from the date of installation. Should any defect arise due to faulty materials or the company will provide workmanship during that period a replacement unit.

There will be no callout charge during the first year. Thereafter a callout fee to cover labour and travel expenses will apply.

The Window Frame

The window frame and sash carries a ten year warranty on all external timber components against defective workmanship, rot, insect and fungicidal attack. This guarantee does not cover any damage accidental or deliberate occurring on site after installation. This guarantee is subject to the window and doors having been maintained as outlined in the Care & Maintenance instructions.
There will be no callout charge during the first year. Thereafter a callout fee to cover labour and travel expenses will apply.

Components other than Glass and Timber Frames

All other parts including handles, gears, hinges, vents are guaranteed for one year from date of installation. Should any part be deemed to be defective due to faulty materials or workmanship during that period a replacement part will be provided by the company.

There will be no callout charge during the first year. Thereafter a callout fee to cover labour and travel

expenses will apply.

See Attached Files
Windows
2.10. Testing and Commissioning Certificates

N/A
2.11. Drawings

	Title
	Drawing No 

	Fixed & Top Hung
	POS 49 Extra

	Side Hung & Fixed
	POS 59 Extra

	Sash with Tilt In
	BE.4

	Sash with Tilt In
	BE.5

	Vertical Sliding on Spiral Balances
	FE.11

	Vertical Sliding on Spiral Balances
	FE.1.2

	Vertical Sliding on Spiral Balances
	FE.1.3

	Vertical Sliding on Spiral Balances
	FE.1.4

	Vertical Sliding 
	FE.2.16

	Vertical Sliding 
	FE.4.13

	Vertical Sliding 
	FE.4.14

	Sash with Tilt In
	FE.2.1

	Sash with Tilt In
	FE.2.2

	Sash with Tilt In
	FE.2.3

	Sash with Tilt In
	FE.3.1

	Sash with Tilt In
	FE.3.2

	Sash with Tilt In
	FE.3.3

	Sash with Tilt In
	FE.3.4

	Sash with Tilt In
	FE.3.5

	Sash with Tilt In
	FE.4.1

	Sash with Tilt In
	FE.4.1.1

	Sash with Tilt In
	FE.4.2

	Sash with Tilt In
	FE.4.3 – 4.7

	Sash with Tilt In
	FE.5

	Vertical Sliding
	R1.01

	Side Hung
	R1.02

	Vertical Sliding
	R1.03

	Sliding with Tilt In
	R1.04

	Sliding with Tilt In
	R1.05

	Sliding with Tilt In
	R1.06

	Sliding with Tilt In
	R1.07

	Sliding with Tilt In
	R1.08

	Sliding with Tilt In
	R1.09

	Vertical Sliding 
	R2.01

	Vertical Sliding 
	R2.02

	Sliding with Tilt In
	R2.03

	Sliding with Tilt In
	R2.04

	Sliding with Tilt In
	R2.05

	Sliding with Tilt In
	R2.06

	Sliding with Tilt In
	R2.07

	Sliding with Tilt In
	R2.08

	Vertical Sliding 
	R3.01

	Vertical Sliding 
	R3.02

	Sliding with Tilt In
	R3.05

	Sliding with Tilt In
	R3.06

	Sliding with Tilt In
	R3.07

	Sliding with Tilt In
	R3.08


Windows
	Title
	Drawing No 

	Sliding with Tilt In
	R3.09

	Sliding with Tilt In
	R3.10

	Sliding with Tilt In
	R4.01 & R4.02

	Fixed & Top Hung
	RB.01

	Sliding with Tilt In
	RB.02

	Sliding with Tilt In
	RB.03

	Fixed & Top Hung
	RB.04

	Sliding with Tilt In
	RB.05

	Sliding with Tilt In
	RB.06

	Side Hung 
	RB.07

	Double Casement
	RB.08

	Side Hung & Fixed
	RB.09

	Side Hung & Fixed
	RB.10

	Side Hung
	RB.11

	Side Hung
	RB.12

	Sliding with Tilt In
	RB.13

	Side Hung
	RB.14

	Sliding with Tilt In
	RB.15

	Sliding with Tilt In
	RE.1.11

	Sliding with Tilt In
	RE.1.12

	Sliding with Tilt In
	RE.1.13

	Sliding with Tilt In
	RE.1.14

	Sliding with Tilt In
	RE.1.15

	Sliding with Tilt In
	RE.1.16

	Sliding with Tilt In
	RE.2.10

	Sliding with Tilt In
	RE.2.11

	Sliding with Tilt In
	RE.2.12

	Sliding with Tilt In
	RE.2.13

	Sliding with Tilt In
	RE.2.14

	Sliding with Tilt In
	RE.2.15

	Sliding with Tilt In
	RE.3.11

	Sliding with Tilt In
	RE.3.12

	Sliding with Tilt In
	RE.3.13

	Sliding with Tilt In
	RE.3.14

	Sliding with Tilt In
	RE.3.15

	Sliding with Tilt In
	RE.3.16

	Vertical Sliding
	RG.01

	Sliding with Tilt In
	RG.02

	Sliding with Tilt In
	RG.03

	Sliding with Tilt In
	RG.04

	Side Hung & Fixed & Side Hung
	RG.05

	Sliding with Tilt In
	RG.06

	Side Hung & Fixed & Side Hung
	RG.07

	Side Hung & Fixed 
	RG.09

	Side Hung
	RG.11

	Sliding with Tilt In
	RG.12

	Sliding with Tilt In
	RG.13

	Side Hung
	RG.14

	Vertical Sliding
	RG.15

	Sliding with Tilt In
	RG.16

	Sliding with Tilt In
	Type A

	Sliding with Tilt In
	Type B

	Sliding with Tilt In
	Type C

	Vertical Sliding + Sides Fixed
	Type D

	Sliding with Tilt In
	Type E


Windows
	Title
	Drawing No 

	Sliding with Tilt In
	Type F

	Sliding with Tilt In
	Type G

	Sliding with Tilt In
	Type H

	Sliding with Tilt In
	Type J

	Sliding with Tilt In
	Type I

	Sliding with Tilt In
	Type K

	Sliding with Tilt In
	Type L

	Sliding with Tilt In
	Type M

	Double Casement
	Type N

	Side Hung
	Type P


See Attached Files
For Hard Copy please view Drawings in Volume 2B
Windows
2.12. Residual Risk

Please refer to regulations “Working at Heights” for any future works relating to maintenance or removal of equipment at Height.
Glazing 

It is a very real risk that any glazing installed, whether internally or externally can break. The risks are reduced by pre-determined Glass and Glazing Federation guidelines that state only certain types of glass can be installed in certain arrangements and only at a particular height. 

In the event that any of the glass on this contract should break it is highly probable it has been caused by means of a collision with elements beyond our control. 

It is recommended immediately upon discovering broken glass that the client should contact a reputable glazing contractor 

Be sure to have the area surrounding the shattered glazing thoroughly swept to ensure that is left free from any falling glass debris. 

For the specification of glass fitted on this contact please refer to the specification section in this O&M we recommended that like for like should be used at all times.

2.13. Safety Information relating to any maintenance / operation tools left on site

N/A
2.14. Other Information

N/A
2.15. Manufacturers Literature

Remmers Technical Data Sheets
See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
3. Partitions & Drylining – AJ Hills Ltd
Contents

173.1.
Contractors Details


173.2.
Scope of works


173.3.
Suppliers Directory


173.4.
Manufacturers Directory


183.5.
Equipment / Materials Information - Knauf


183.6.
Equipment / Materials Information – SIG plc


183.7.
Equipment / Materials Information – Panel Craft UK


193.8.
Operation / Maintenance Procedures not included in manufacturers literature


193.9.
Recommended Spares


193.10.
Guarantees


193.11.
Testing and Commissioning Certificates


193.12.
Drawings


193.13.
Residual Risk


203.14.
Safety Information relating to any maintenance / operation tools left on site


203.15.
Other Information


203.16.
Manufacturers Literature




Partitions & Drylining
3.1. Contractors Details

AJ Hills Ltd

8 Edwin Road, 

Rainham, 

Kent, ME8 0AA

Adrian Cooke

Tel: 01795 425798/ 07809 213802

Email: adrian.cooke@sky.com

3.2. Scope of works

AJ Hills specialist installations were contracted via Paragon Construction to supply  all Labour, Plant, Materials & supervision to carry out partition & suspended ceiling works all as per latest revision CA drawings & instructions.

3.3. Suppliers Directory

N/A
3.4. Manufacturers Directory

	Manufacturer Name
	Details

	Knauf
	Kemsley Fields Business Park, 

Ridham Dock, 

Iwade, 

Sittingbourne 

ME9 8SR

Phone:01795 424499

	Panel Craft UK
	One Reading Central,
Forbury Road, 
Reading, 
Berkshire, 
RG1 3YL.

	SIG plc
	Hillsborough Works, 
Langsett Road, 
Sheffield 
S6 2LW. 
Tel: +44 (0)114 285  


Partitions & Drylining
3.5. Equipment / Materials Information - Knauf
	Description of Item
	Plasterboard

	Model / Part Number
	Fireboard Panel

	Data
	See Attached Files at end of section


	Description of Item
	Plasterboard

	Model / Part Number
	Moisture Panel

	Data
	See Attached Files at end of section


	Description of Item
	Plasterboard

	Model / Part Number
	Sound Panel

	Data
	See Attached Files at end of section


	Description of Item
	Plasterboard

	Model / Part Number
	Wall Panel

	Data
	See Attached Files at end of section


3.6. Equipment / Materials Information – SIG plc

	Description of Item
	Metal Sections

	Model / Part Number
	Speedline Metal Systems

	Data
	See Attached Files at end of section


3.7. Equipment / Materials Information – Panel Craft UK

	Description of Item
	Access Panels

	Model / Part Number
	Tilespan

	Data
	See Attached Files at end of section


	Description of Item
	Plasterboard

	Model / Part Number
	Moisture Panel

	Data
	See Attached Files at end of section


	Description of Item
	Plasterboard

	Model / Part Number
	Sound Panel

	Data
	See Attached Files at end of section


	Description of Item
	Plasterboard

	Model / Part Number
	Wall Panel

	Data
	See Attached Files at end of section


Partitions & Drylining
3.8. Operation / Maintenance Procedures not included in manufacturers literature

Walls require very little maintenance. If cleaning is required,  walls should be cleaned as soon as they become soiled to prevent the dirt becoming ingrained or the surface stained, otherwise the cleaning is less likely to be successful. Surface dust can be removed by wiping with a lightly moist clean soft cloth. For grease and fingerprints use a moist cloth or sponge dampened, with as little water as possible, containing a mild soap or detergent. After cleaning, the soapy film should be wiped off with a cloth or sponge lightly dampened with clean water. 

If damage is caused, minor chip dents, holes etc., these can be filled using proprietary fillers.  Extensive damage requires removal of damaged boards and replaced with new material and tape and joint.
Access panels are touch catch so lightly press to open or close.

3.9. Recommended Spares

N/A
3.10. Guarantees

N/A

3.11. Testing and Commissioning Certificates

N/A

3.12. Drawings

N/A

3.13. Residual Risk

Metal Sections:
By their nature, these products may have sharp edges and corners, and the use of gloves when handling is recommended. When working overhead it is advisable to wear head protection. When cutting or welding these products, it is advisable to wear eye protection. Avoid ingestion or inhalation of any dust or fumes arising from such cutting operations and use a suitable face mask when necessary. Metal is a good conductor of electricity and precautions should be taken to ensure contact with live power lines is avoided.

Partitions & Drylining
3.14. Safety Information relating to any maintenance / operation tools left on site

N/A
3.15. Other Information

N/A
3.16. Manufacturers Literature

Knauf Technical Details and COSHH Data

Panel Craft Access Panels Technical Details and COSHH Data
Speedline Metal Section Technical Details 

See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
4. Curtains & Soft Furnishings – J.G. Interiors Ltd
Contents

224.1.
Contractors Details


224.2.
Scope of works


224.3.
Suppliers Directory


224.4.
Manufacturers Directory


234.5.
Equipment / Materials Information - Morgan


234.6.
Equipment / Materials Information – FR One


234.7.
Equipment / Materials Information - Kai


234.8.
Equipment / Materials Information - Panza


244.9.
Equipment / Materials Information – Premier Voile Co Ltd


244.10.
Equipment / Materials Information – Evans Textiles (Sales) Ltd


244.11.
Equipment / Materials Information – Blendworth


244.12.
Equipment / Materials Information – Ashley Wilde Group


244.13.
Equipment / Materials Information – Silent Gliss


244.14.
Operation / Maintenance Procedures not included in manufacturers literature


254.15.
Recommended Spares


254.16.
Guarantees


254.17.
Testing and Commissioning Certificates


264.18.
Drawings


264.19.
Residual Risk


264.20.
Safety Information relating to any maintenance / operation tools left on site


264.21.
Other Information


264.22.
Manufacturers Literature




Curtains & Soft Furnishings
4.1. Contractors Details

J.G. Interiors Ltd

Unit 15, Arcany Road, 

South Ockendon, 

Essex 

RM15 5TB

Rod Stone

Tel: 01708 851881

Email: jg.interiors@btconnect.com

4.2. Scope of works

To supply and install bespoke soft furnishings including Curtains, Voile, curtain trim and Bed Throws.
4.3. Suppliers Directory

N/A
4.4. Manufacturers Directory

	Manufacturer Name
	Details

	Ashley Wilde Group
	Emmanuel House

Travellers Close

Welham Green Herts AL9 7LD

	Blendworth
	Crookley Park, Horndean, 

Hampshire,  PO8 0AD

Tel: +44 (0)23 9259 4911

	Evans Textiles (Sales) Ltd
	Helmet Street

Manchester M1 2NT

	FR One
	Style Library Contract

Chalfont House

Oxford Road

Denham

Buckinghamshire

UB9 4DX

T +44 (1895)221050

	Kai
	Emmanuel House
Travellers Close

Welham Green

Herts AL9 7LD

Tel: 01707 635 258

	Morgan
	1 Dallington Street

Clerkenwell

London

EC1V 0BH


Curtains & Soft Furnishings
	Manufacturer Name
	Details

	Panaz
	Bentley Wood Way

Hapton

Burnley

Lancashire BB11 5ST
Tel: 01282 696969

	Premier Voile Co Ltd
	Mosterley Farm

Cound Moor

Shrewsbury

Shropshire SY5 6BH

Tel: 01694 731 747

	Silent Gliss
	Lodge Farm 
Pump Lane 
Chelmsford 
Essex CM3 1HF


4.5. Equipment / Materials Information - Morgan

	Description of Item
	Reception Chairs

	Model / Part Number
	No Arms

	Data
	See Attached Files at end of section


4.6. Equipment / Materials Information – FR One

	Description of Item
	Reception Sofa

	Model / Part Number
	Harlequin Excalibur Collection

	Data
	See Attached Files at end of section


4.7. Equipment / Materials Information - Kai
	Description of Item
	Blind Fabric

	Model / Part Number
	Kai Glencoe Navy

	Data
	See Attached Files at end of section


	Description of Item
	Bedspread Boarder

	Model / Part Number
	Scriva Indigo

	Data
	See Attached Files at end of section


4.8. Equipment / Materials Information - Panza

	Description of Item
	Fabric

	Model / Part Number
	Sketch Gunmetal

	Data
	See Attached Files at end of section


	Description of Item
	Reception Chairs

	Model / Part Number
	With Arms – Stingray WW906

	Data
	See Attached Files at end of section


Curtains & Soft Furnishings
4.9. Equipment / Materials Information – Premier Voile Co Ltd

	Description of Item
	Fabric

	Model / Part Number
	Abberley Nash Slub Voile 

	Data
	See Attached Files at end of section


4.10. Equipment / Materials Information – Evans Textiles (Sales) Ltd

	Description of Item
	Tracks

	Model / Part Number
	Roman Blind Track 

	Data
	See Attached Files at end of section


4.11. Equipment / Materials Information – Blendworth

	Description of Item
	Bed Spread Lining

	Model / Part Number
	Slinky 34 Grey

	Data
	See Attached Files at end of section


4.12. Equipment / Materials Information – Ashley Wilde Group

	Description of Item
	Bed Spread Fabric

	Model / Part Number
	Dayo Linen

	Data
	See Attached Files at end of section


4.13. Equipment / Materials Information – Silent Gliss

	Description of Item
	Tracks

	Model / Part Number
	Hand Operated 3840 W

	Data
	See Attached Files at end of section


	Description of Item
	Tracks

	Model / Part Number
	Hand Operated 1090

	Data
	See Attached Files at end of section


	Description of Item
	Tracks

	Model / Part Number
	Cord Operated 3840

	Data
	See Attached Files at end of section


4.14. Operation / Maintenance Procedures not included in manufacturers literature

Fabric Wash & Care Instructions

See Attached Files
Curtains & Soft Furnishings
4.15. Recommended Spares

N/A
4.16. Guarantees

Evans Roman Blind Track – 10 year warranty
4.17. Testing and Commissioning Certificates

Fabric Flameproof Certificates


See Attached Files

For Hard Copy please view Certificates in Volume 2A 

Curtains & Soft Furnishings
4.18. Drawings

N/A
4.19. Residual Risk

N/A

4.20. Safety Information relating to any maintenance / operation tools left on site

N/A

4.21. Other Information

N/A

4.22. Manufacturers Literature

Silent Gliss Hand & Cord Operated Track Technical Details

See Attached Files 

For Hard Copy please view Literature in Volume 2C
Contents
5. Case Goods / Joinery – Forest Contracts Ltd
Contents

285.1.
Contractors Details


285.2.
Scope of works


285.3.
Operation / Maintenance Procedures not included in manufacturers literature


295.4.
Recommended Spares


295.5.
Guarantees


305.6.
Test and Commissioning Certificates


315.7.
Drawings


325.8.
Residual Risk


335.9.
Safety Information relating to any maintenance / operation tools left on site


335.10.
Other Information


335.11.
Manufacturers Literature




Case Good/ Joinery
5.1. Contractors Details

Forest Contracts Ltd

Frinton-on-Sea 

CO13 9NB

Darren Taylor

Tel: 020 8502 3844/ 07768 403763

Email: darren@forestcontracts.co.uk

5.2. Scope of works

To supply and install bespoke made joinery as per drawings including Roller Shutter Door.
5.3. Operation / Maintenance Procedures not included in manufacturers literature

Care Instructions

Roller Shutter Door Operation Manual

See Attached Files
Case Good/ Joinery
5.4. Recommended Spares

N/A
5.5. Guarantees

Forest Warranty Document

See Attached Files
Case Good/ Joinery
5.6. Test and Commissioning Certificates

Roller Shutter Handover Sheet
See Attached File
For Hard Copy please view Certificates in Volume 2A 

Case Good/ Joinery
5.7. Drawings

	Title
	Drawing No 

	Bedside Cabinet
	226801

	1560 Headboard
	226802

	TV Surround
	226803

	1500  Desk
	226805

	Breakfast Bar
	226808

	1000w Vanity Unit Type 1
	226809

	1000x Vanity Unit Type 3
	226848

	750w Vanity Unit Type 1
	226849

	750w Vanity Unit Type 2
	226850

	750w Vanity Unit Type 2
	226851

	850w Vanity Unit Type 1
	226852

	850w Vanity Unit Type 2
	226853

	850w Vanity Unit Type 3
	226854

	Single Wardrobe A
	226855

	Double Wardrobe B
	226856

	Single Wardrobe C
	226857

	Double Wardrobe D
	226858

	1860 Headboard
	226859

	1300 Desk
	226860

	1175 Desk
	226861

	Breakfast Bar 2 Leg
	226863

	Breakfast Table
	226864

	1000w Vanity Unit Type 1 Rm 212 - 112
	226865

	700w Vanity Unit Type 2
	226866

	Bar Plan
	260900

	Lift Fire Curtain
	260935

	Reception Storage Wall
	260940


See Attached Files
For Hard Copy please view Drawings in Volume 2B
Case Good/ Joinery
5.8. Residual Risk

Silestone removal:

Crystalline silica is a basic component of soil, sand, granite, slate, and many other minerals. Respirable size particles of crystalline silica may result when workers mill, cut, drill or pulish these objects.

Respirable crystalline silica may present a health hazard if workers are not properly protected and workplaces are not properly controlled to reduce silica dust.

H372 HAZARD: Causes damage to lungs through prolonged or repeated exposure (inhalation).

PREVENTION

P260 Do not breathe dust generated in the cutting, grinding and polishing processes.

P264 Wash face and hands thoroughly after handling.

P270 Do not eat, drink or smoke when using this material.

P284 Wear respiratory protection for particles (P3).

FIRST AID MEASURES

P314 Get medical advice/attention if you feel unwell.

P501 Dispose of scrap material in accordance with local regulation.

Please view Good Practice Guide
See Attached Files
Case Good/ Joinery
5.9. Safety Information relating to any maintenance / operation tools left on site

N/A
5.10. Other Information

N/A
5.11. Manufacturers Literature

Silestone Material Safety Data Sheet
Polyrey Certificates
See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
6. Kitchens – Pepper Kitchens Ltd
Contents

356.1.
Contractors Details


356.2.
Scope of works


366.3.
Suppliers Directory


366.4.
Manufacturers Directory


376.5.
Equipment / Materials Information - Electrolux (AEG/Zanussi)


376.6.
Equipment / Materials Information - Blanco


376.7.
Equipment / Materials Information - Elektra


376.8.
Equipment / Materials Information - Pepper Kitchens


386.9.
Operation / Maintenance Procedures not included in manufacturers literature


396.10.
Recommended Spares


396.11.
Guarantees


396.12.
Testing and Commissioning Certificates


406.13.
Drawings


416.14.
Residual Risk


416.15.
Safety Information relating to any maintenance / operation tools left on site


416.16.
Other Information


416.17.
Manufacturers Literature




Kitchens
6.1. Contractors Details

Pepper Kitchens Limited, 

2 Cabot House, 

Compass Point, 

St Ives, 

Cambridgeshire, PE27 5JL

Andy Davis

Tel: 0845 9011 340/ 07768 605659

Email: andy@pepperkitchens.com 
6.2. Scope of works

The supply and installation of 96no. Bespoke, modular kitchens at the development, ‘Royal Court Apartments, 47 Gloucester Terrace.

Specification is as follows:- 

Furniture Specification

· Pepper modular furniture system with System Alu handles to base units

· All cabinet fronts & decor panels finished in timber grain laminate (Egger reference H1793 ST27 Lava Tortona)

· 550mm extra deep handlefree wall units with Blum ‘Tipon’ push opening mechanism

· Pepper recessed LED low energy lighting system, set in trench within underboard, located below micro housing and adjacent wall unit

· Wall housing unit for integrated microwave with storage above

· Sink housing unit with internal cutlery drawer below shelf

· Wall housing unit for canopy hood with shallow depth storage to front, designed to contain Flamefast fire suppression unit (by others) and grid switch (by others)

· All doors & drawers with soft close action through Blum soft close hinge system and Blumotion runner system

· Internal carcase finished in timber grain laminate (Egger reference H1793 ST27 Lava Tortona) to match cupboard fronts

Worksurface & Splashback

· 13mm thickness, 625mm depth, Hanex ‘Blackbeat’ acrylic solid worksurface

· Rear wall between worksurface and underside of wall cabinets to be tiled (by others - not included in Pepper prices)

· Sink & Tap

· Blanco Supra 340-IF single bowl stainless steel inset sink

· Blanco City chrome single lever mixer tap

Appliances

· AEG stainless steel 26ltr integrated microwave with grill MCD2664E-M

· Zanussi 2 zone steel plate hob ZEE3921IXA

· Zanussi 60cm canopy ZHG51260GA including EFF75 charcoal filter

· Zanussi integrated build under fridge with freezer box ZQA12430DA

Operations & Logistics

· Delivery when ready for kitchen installation to commence (eg. plot is secure, flooring complete, power & water available)

· Unloading & distribution by pepper to plot (use of hoist / lift for kitchen above first floor)

· Installation of all furniture, acrylic worksurfaces, appliances and associated hardware

· Kitchen presented to your nominated representative for sign-off after self-snagging cycle

· Protection of worksurfaces following installation sign-off

· Waste & packaging cleared to site skip (provided by main contractor)

Connections

· Wet connections, guaranteed for 30 days after sign-off

· Anti-tamper paint will be applied to wet connections

· Electrical connection

· Appliance commissioning

6.3. Suppliers Directory

	Supplier Company Name
	Details (Address, Tel, Fax, Email, Web)

	Electrolux Major Appliances
	Addington Way, Luton, Beds, LU49QQ. 

Tel: 08445618924

Web: www.electrolux.co.uk

	Blanco UK (tap/Sink/Waste bins)
	1 Victor Way, Colney St, St Albans, Herts, AL22FL. 

Tel: 08449120100, 

Web: www.blanco.co.uk 

	Elektra (lighting)
	Gesellschaft für elektrotechnische, Geräte mbH, Werkstraße 7, 32130 Enger. 

Tel: 0049 5223 185350

Web: www.elektra.de/en

	Pepper Kitchens (Furniture suppliers)
	Pepper Kitchens Limited, 2 Cabot House, Compass Point, St Ives, PE27 5JL. 

Tel: 08459011340

Web: www.pepperkitchens.com


6.4. Manufacturers Directory

	Manufacturers  Company Name
	Details (Address, Tel, Fax, Email, Web)

	Ideal Surfaces
	20b Wheatfield Way, Hinckley, Leicestershire, LE101YG.

Tel: 01455 619114

Web: www.ideal-surfaces.co.uk


Kitchens
6.5. Equipment / Materials Information - Electrolux (AEG/Zanussi)

	Description of Item
	AEG stainless steel 26ltr integrated microwave

	Model / Part Number
	MCD2664E-M

	Location installed / used
	Within wall unit on all plots

	Data
	AEG Micro MDC2664E-M user manual.pdf


	Description of Item
	Zanussi 2 zone steel plate hob

	Model / Part Number
	ZEE3921IXA

	Location installed / used
	To kitchen work surfaces on all plots

	Data
	Zanussi 2 Zone Hob ZEE3921IXA user manual.pdf


	Description of Item
	Zanussi 60cm canopy Hood (w/Charcoal filter)

	Model / Part Number
	ZHG51260GA

	Location installed / used
	Within wall unit above hob, to all plots

	Data
	Zanussi Hood ZHG51260GA.pdf


	Description of Item
	Zanussi integrated build under fridge with freezer box

	Model / Part Number
	ZQA12430DA

	Location installed / used
	Below work surface /within kitchen base unit, to all plots

	Data
	Zanussi Ice box Fridge ZQA12430DA.pdf


6.6. Equipment / Materials Information - Blanco
	Description of Item
	Blanco City chrome single lever mixer tap

	Model / Part Number
	Blanco City Tap

	Location installed / used
	To work surfaces on all plots

	Data
	n/a


	Description of Item
	Blanco Supra single bowl stainless steel inset sink

	Model / Part Number
	Blanco Supra 340-U

	Location installed / used
	To work surfaces on all plots

	Data
	n/a


6.7. Equipment / Materials Information - Elektra

	Description of Item
	Recessed LED low energy lighting system

	Model / Part Number
	N/A

	Location installed / used
	set in trench within under board, located below micro housing and adjacent wall unit, to all plots

	Data
	n/a


6.8. Equipment / Materials Information - Pepper Kitchens
	Description of Item
	Kitchen furniture

	Model / Part Number
	Bespoke

	Location installed / used
	All apartments

	Data
	See care of your kitchen document


Kitchens
6.9. Operation / Maintenance Procedures not included in manufacturers literature

Customer Care document
Please see attached
Kitchens
6.10. Recommended Spares

Please refer to the manufacturers Literature section
6.11. Guarantees

Appliances:- 

Start Date - On receipt of Electrolux warranty card or 2 years from kitchen sign-off

· AEG stainless steel 26ltr integrated microwave with grill MCD2664E-M

· Zanussi 2 zone steel plate hob ZEE3921IXA

· Zanussi 60cm canopy ZHG51260GA including EFF75 charcoal filter

· Zanussi integrated build under fridge with freezer box ZQA12430DA

Sink & Taps:- 

2 years from kitchen sign-off

· Blanco Supra 340-IF single bowl stainless steel inset sink

· Blanco City chrome single lever mixer tap

Wet Connections:- 

· Wet connections, guaranteed for 30 days after sign-off

Kitchen Furniture:- 

2 years from kitchen sign-off
· Pepper modular furniture system with System Alu handles

· All cabinet fronts & decor panels finished in timber grain laminate (Egger reference H1793 ST27 Lava Tortona)

Under cabinet lighting:- 

2 years from kitchen sign-off

· Pepper recessed LED low energy lighting system, set in trench within underboard, located below micro housing and adjacent wall unit

6.12. Testing and Commissioning Certificates

N/A
Kitchens
6.13. Drawings

	Drawing No
	Title

	Royal Court Apartments 1.88m PKT01R2 AS
	Type PKT01R2 AS

	Royal Court Apartments 1.88m PKT01B AS
	Type PKT01B AS

	Royal Court Apartments 1.83m PKT08R2 AS
	Type PKT08R2 AS

	Royal Court Apartments 1.83m PKT08B OPP
	Type PKT08B OPP

	Royal Court Apartments 1.83m PKT08B AS
	Type PKT08B AS

	Royal Court Apartments 1.78m PKT04R2 OPP
	Type PKT04R2 OPP

	Royal Court Apartments 1.78m PKT04R2 AS
	Type PKT04R2 AS

	Royal Court Apartments 1.78m PKT04B OPP
	Type PKT04B OPP

	Royal Court Apartments 1.78m PKT04B AS
	Type PKT04B AS

	Royal Court Apartments 1.73m PKT09R2 OPP
	Type PKT09R2 OPP

	Royal Court Apartments 1.73m PKT09R2 AS
	Type PKT09R2 AS

	Royal Court Apartments 1.68m PKT06R2 OPP
	Type PKT06R2 OPP

	Royal Court Apartments 1.68m PKT06R2 AS
	Type PKT06R2 AS

	Royal Court Apartments 1.63m PKT05R2 AS
	Type PKT05R2 AS

	Royal Court Apartments 1.63m PKT05B OPP
	Type PKT05B OPP

	Royal Court Apartments 1.53m PKT03R2 OPP B
	Type PKT03R2 OPP B

	Royal Court Apartments 1.53m PKT03R2 AS
	Type PKT03R2 AS

	Royal Court Apartments 1.53m PKT03B AS
	Type PKT03B AS

	Royal Court Apartments 1.28m PKT02R2 OPP C
	Type PKT02R2 OPP C

	Royal Court Apartments 1.28m PKT02R2 AS
	Type PKT02R2 AS

	Royal Court Apartments 1.28m PKT02B OPP
	Type PKT02B OPP

	Royal Court Apartments 1.28m PKT02B AS

	Type PKT02B AS


	Royal Court Apartments 1.23m PKT07R2 OPP
	Type PKT07R2 OPP

	Royal Court Apartments 1.23m PKT07R2 AS
	Type PKT07R2 AS

	Royal Court Apartments 1.23m PKT07B OPP
	Type PKT07B OPP

	Royal Court Apartments 1.23m PKT07B AS
	Type PKT07B AS


Please see attached
For Hard Copy please view Drawings in Volume 2B
Kitchens
6.14. Residual Risk

N/A
6.15. Safety Information relating to any maintenance / operation tools left on site

N/A
6.16. Other Information

N/A
6.17. Manufacturers Literature

AEG stainless steel 26ltr integrated microwave with grill MCD2664E-M User Manual
Zanussi 2 zone steel plate hob ZEE3921IXA User Manual

Zanussi 60cm canopy ZHG51260GA User Manual

Zanussi integrated build under fridge with freezer box ZQA12430DA User Manual
Please see attached
For Hard Copy please view Literature in Volume 2C
Contents
7. Roofing – Itech Roofing
Contents

437.1.
Contractors Details


437.2.
Scope of works


437.3.
Suppliers Directory


437.4.
Manufacturers Directory


447.5.
Equipment / Materials Information – Celotex Ltd


447.6.
Equipment / Materials Information – Sika Ltd


447.7.
Operation / Maintenance Procedures not included in manufacturers literature


457.8.
Recommended Spares


457.9.
Guarantees


467.10.
Testing and Commissioning Certificates


467.11.
Drawings


477.12.
Residual Risk


477.13.
Safety Information relating to any maintenance / operation tools left on site


477.14.
Other Information


477.15.
Manufacturers Literature




Roofing
7.1. Contractors Details

Itech Roofing

Pine Ridge, 

Roundwood, 

Rucklers Lane, 

Kings Langley, 

Hertfordshire, WD4 8BE

Tony Reynolds

Tel: 01923 220950

Email: info@itechroofworks.co.uk

7.2. Scope of works

Supply and install Sika Sarnafil roofing membrane and Celotex insulation to a 51 Gloucester Terrace, London W2 3DQ as per Sarnafil Specification MA15120.

Main Roofs & Dormers

7.3. Suppliers Directory

N/A
7.4. Manufacturers Directory

	Manufacturer Name
	Details

	Celotex Limited


	Lady Lane Industrial Estate 
Hadleigh, 
Ipswich

Suffolk

IP7 6BA
Technical enquiries: 01473 820850

General enquiries: 01473 822093

	Sika Limited


	Sika Limited

Bankside 300

Peachman Way

Broadland Business Park

Norwich

NR7 0WF
Tel: 01603 709360

Fax: 01603 433436


Roofing
7.5. Equipment / Materials Information – Celotex Ltd
	Description of Item
	Insulation

	Model / Part Number
	GA4000/PL4025

	Location installed
	Main roofs & dormers

	Data
	See Attached Files at end of section


7.6. Equipment / Materials Information – Sika Ltd

	Description of Item
	Single Ply Membrane

	Model / Part Number
	G410-EL Sika Sarnafil

	Location installed
	Main roofs & dormers

	Data
	See Attached Files at end of section


	Description of Item
	VCL

	Model / Part Number
	5000E Sarnavap

	Location installed
	Main roofs & dormers

	Data
	See Attached Files at end of section


7.7. Operation / Maintenance Procedures not included in manufacturers literature

Sarna Roofing System Maintenance

See Attached File
Roofing
7.8. Recommended Spares

N/A
7.9. Guarantees

Sika 20 year Guarantee
See Attached File
Roofing
7.10. Testing and Commissioning Certificates

N/A
7.11. Drawings

	Title
	Drawing No 

	Roof Identification Plan
	104922-011

	Parapet Drainage
	104922-1030

	Roof Details
	104922-1031


See Attached Files
For Hard Copy please view Drawings in Volume 2B
Roofing
7.12. Residual Risk

Please refer to “Height Regulations” for any future works relating to maintenance or removal of equipment.

Always use safety systems that are in place.

7.13. Safety Information relating to any maintenance / operation tools left on site

Always use Man Safe System when working on Roof Level.
7.14. Other Information

N/A
7.15. Manufacturers Literature

Sika Sarnafil G410-EL & 5000E Technical Data Sheets

Celotex GA4000 Technical Data Sheets
See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
8. Fire Curtains – Coopers Fire
Contents

498.1.
Contractors Details


498.2.
Scope of works


498.3.
Suppliers Directory


498.4.
Manufacturers Directory


508.5.
Equipment / Materials Information – Coopers Fire


508.6.
Operation / Maintenance Procedures not included in manufacturers literature


518.7.
Recommended Spares


518.8.
Guarantees


518.9.
Testing and Commissioning Certificates


528.10.
Drawings


538.11.
Residual Risk


538.12.
Safety Information relating to any maintenance / operation tools left on site


538.13.
Other Information


538.14.
Manufacturers Literature




Fire Curtains
8.1. Contractors Details

Coopers Fire

Edward House,

Penner Road,

Havant,

Hampshire,

PO9 1QZ

Technical Director

Ray Kerry

Tel: 02392 008 900/ 07788 587 719

Email: ray.kerry@coopersfire.com

8.2. Scope of works

To supply and install Automatic Fire Barriers – Firemaster Plus Systems on ground floor as per Drawings.
8.3. Suppliers Directory

N/A
8.4. Manufacturers Directory

	Manufacturer Name
	Details

	Coopers Fire


	Edward House,

Penner Road,

Havant,

Hampshire,

PO9 1QZ

Tel: 02392 008 900


Fire Curtains
8.5. Equipment / Materials Information – Coopers Fire 
	Description of Item
	Automatic Fire Barrier Controls

	Model / Part / Serial No.
	Mono System 

	Location Installed / Used
	Ground Floor

	Data
	See Files within this section


	Description of Item
	Fire Curtain

	Model / Part / Serial No.
	Firemaster Plus 2

	Location Installed / Used
	Ground Floor

	Data
	See Files within this section


8.6. Operation / Maintenance Procedures not included in manufacturers literature

Full Operation & Maintenance Manual

See Attached Files
Fire Curtains
8.7. Recommended Spares

N/A

8.8. Guarantees

12 months from date of installation

8.9. Testing and Commissioning Certificates

In addition as a Fire Safety Installation testing and maintenance must be undertaken in accordance with BS5588 Part 7 1997 of which Annex C States;

General

‘It is essential for the safety of the occupants of a building that fire safety equipment is checked frequently. A formal agreement should be made with the installer, his agent, or an accredited servicing organisation, to provide regular inspection and testing.’

Weekly

Fire Control System for Means of Escape

‘Simulate actuation of the fire control system and ensure that any fans and powered exhaust ventilators operate correctly, fire dampers close (or open in some systems), natural exhaust ventilators open automatic 

fire barriers move into positions, etc.’

Yearly

Arrange for the annual inspections and tests of the fire control system(s) to be carried out by competent persons, for any defects to be logged and the necessary action taken, and ensure that certificates of satisfactory testing are received.’

Should these tasks not be performed we cannot be held responsible should they fail to operate, due to the product being specialised Life Protecting Equipment.
PLEASE VIEW FULL OPERATION & MAINTENANCE MANUAL FOUND IN SECTION 8.6 FOR FULL DETAILS

Completion Certificate

See Attached File
For Hard Copy please view Certificates in Volume 2A
Fire Curtains
8.10. Drawings

	Title
	Drawing No 

	Automatic 2 hr Fire Curtain

G.A & section (Gnd Floor)

Firemaster Plus & S.Seal
	Q39123/AD/001

	Automatic 2 hr Fire Curtain

G.A & section (Gnd Floor L1)

Firemaster Plus & S.Seal
	Q39123/AD/002

	Automatic 2 hr Fire Curtain Wiring Schematic 

ERU2 Firemaster Plus & S.Seal
	Q39123/AD/003

	Automatic 2 hr Fire Curtain Wiring schematic 

Mono Firemaster Plus & S.Seal
	Q39123/AD/004


See Attached Files
For Hard Copy please view Drawings in Volume 2B
Fire Curtains
8.11. Residual Risk

REMOVAL / DEMOLITION STATEMENT

Competent personnel must only undertake removal.

If in doubt consult Coopers Fire Ltd directly at + 44 (0) 2392 454405.

Ensure isolation of power supply 240v to Power Zone Control Panel

Ensure isolation of control voltage 24v dc between Power Zone Control Panel, Motor Control Unit and fire barrier(s).

Ensure isolation of fire alarm interface to Power Zone Control Panel (PSU).

Ensure permit to work (if required) is valid.

Ensure working area is condoned off.

Ensure any positioned working platforms are safe.

Ensure correct Personnel Protection Equipment worn.

Ensure Method Statement has been prepared and approved.

Components e.g. boxing should be recycled via suitably approved licensed contractor, including sealed batteries contained within Power Supply Unit (PSU).

Materials used within the construction of Smoke / Fire Barriers are not of hazardous nature, and therefore not harmful to end user.

Construction assembly of Coopers Variospeed Automatic Smoke / Fire Barriers is via nuts, bolts, screws, rivets and split pin (roller retaining brackets). Care to be taken when removing Motor/Roller/Fabric Assembly – weight nominally 40kg per roller.

8.12. Safety Information relating to any maintenance / operation tools left on site

N/A
8.13. Other Information

N/A
8.14. Manufacturers Literature

N/A
Contents
9. Flooring – Hunter Flooring Ltd
Contents

559.1.
Contractors Details


559.2.
Scope of works


559.3.
Suppliers Directory


559.4.
Manufacturers Directory


569.5.
Equipment / Materials Information – Egger (UK) Ltd


569.6.
Equipment / Materials Information – Victoria Carpets


569.7.
Equipment / Materials Information – Altro Ltd


569.8.
Operation / Maintenance Procedures not included in manufacturers literature


579.9.
Recommended Spares


579.10.
Guarantees


579.11.
Testing and Commissioning Certificates


579.12.
Drawings


579.13.
Residual Risk


579.14.
Safety Information relating to any maintenance / operation tools left on site


579.15.
Other Information


579.16.
Manufacturers Literature




Flooring
9.1. Contractors Details

Hunter Flooring Ltd

Douglas Buildings, 

Lodge Road, 

Staplehurst, 

Tonbridge, 

Kent, 

TN12 0QZ

Richard Hunter

01580 890008/ 07774 860867

Email: richard@hunterflooring.com

9.2. Scope of works

To supply and install Floor finishes to apartments and common parts.

9.3. Suppliers Directory

N/A
9.4. Manufacturers Directory

	Manufacturer Name
	Details

	Egger (UK) Ltd
	Annick Grange Road

Hexham      

NE46 4JS 

Tel: 01434 602191   

	Victoria Carpets
	Worcester Road

Kidderminster      

DY10 1HL

01562 749600

	Altro Ltd
	Works Road

Letchworth Garden City

SG6 1NW

01462 480480


Flooring
9.5. Equipment / Materials Information – Egger (UK) Ltd
	Description of Item
	Laminate Flooring

	Model / Part Number
	Euroclic 4034, Col: Oxford Oak Grey

	Data
	See Attached Files at end of section


9.6. Equipment / Materials Information – Victoria Carpets 

	Description of Item
	Broad loom Carpet

	Model / Part Number
	Graphics Tufted, col: VIC2389

	Data
	See Attached Files at end of section


9.7. Equipment / Materials Information – Altro Ltd 

	Description of Item
	Vinyl Flooring

	Model / Part Number
	Altro Walkway SD, col: Fog

	Data
	See Attached Files at end of section


9.8. Operation / Maintenance Procedures not included in manufacturers literature

Egger Flooring Maintenance Guide

Altro Flooring Cleaning Guide

Victoria Carpets Cleaning Guide

See Attached Files
Flooring
9.9. Recommended Spares

N/A
9.10. Guarantees

N/A

9.11. Testing and Commissioning Certificates

N/A

9.12. Drawings

N/A

9.13. Residual Risk

Floor Coverings 

There are no specific associated hazards with the materials within this element of the works.

Fluid spillages upon floor coverings can create the danger of slippage. Warning signs and appropriate janitorial materials should be available and close at hand for use under such circumstances.

9.14. Safety Information relating to any maintenance / operation tools left on site

N/A

9.15. Other Information

N/A

9.16. Manufacturers Literature

N/A

Contents
10. Plastering – KC Plastering
Contents

5910.1.
Contractors Details


5910.2.
Scope of works


5910.3.
Suppliers Directory


5910.4.
Manufacturers Directory


6010.5.
Equipment / Materials Information – British Gypsum


6010.6.
Materials Information – Sika Ltd


6010.7.
Materials Information – Henkel Ltd


6010.8.
Operation / Maintenance Procedures not included in manufacturers literature


6010.9.
Recommended Spares


6010.10.
Guarantees


6010.11.
Testing and Commissioning Certificates


6010.12.
Drawings


6010.13.
Residual Risk


6010.14.
Safety Information relating to any maintenance / operation tools left on site


6010.15.
Other Information


6110.16.
Manufacturers Literature




Plastering
10.1. Contractors Details

KC Plastering

47 Croxdale Road, 

Borehamwood, 

WD6 4QE

Kevin Clelland

Tel: 07957 964590

Email: kcplastering@mail.com

10.2. Scope of works

To supply and install skimming & bonding to 1 – 4th Floor Kitchen areas and cement, sand and plaster render to Lower Floor areas.

10.3. Suppliers Directory

N/A
10.4. Manufacturers Directory

	Manufacturer Name
	Details

	British Gypsum 
	British Gypsum
Head Office
East Leake
Loughborough
Leicestershire LE12 6HX

Tel: 0115 945 1000 

	Sika Ltd
	Robberds Ways

Bowthorpe

Norwich

NR5 9JF

Tel: 01603 748985

	Henkel Ltd
	Wood Lane End

Hemel Hempstead

HP2 4RQ

Tel: +44 1442 278000.


Plastering
10.5. Equipment / Materials Information – British Gypsum
	Description of Item
	Plaster Skim

	Model / Part Number
	Thistle MultiFinish

	Location installed
	Kitchens

	Data
	See Attached Files at end of section


10.6. Materials Information – Sika Ltd
	Description of Item
	Waterproof Render

	Model / Part Number
	Sika 1

	Location installed
	Walls to Lower Floors

	Data
	See Attached Files at end of section


10.7. Materials Information – Henkel Ltd

	Description of Item
	Bonding

	Model / Part Number
	UniBond

	Location installed
	All Areas

	Data
	See Attached Files at end of section


10.8. Operation / Maintenance Procedures not included in manufacturers literature

N/A - Skimmed Walls can be painted as and when required.
10.9. Recommended Spares

N/A
10.10. Guarantees

N/A
10.11. Testing and Commissioning Certificates

N/A
10.12. Drawings

N/A
10.13. Residual Risk

N/A
10.14. Safety Information relating to any maintenance / operation tools left on site

N/A
10.15. Other Information

N/A
Plastering
10.16. Manufacturers Literature

British Gypsum Multi Finish Safety Data Sheet

Unibond Bonding Safety Data Sheet

Sika 1 Safety Data Sheet

See Attached Files


 For Hard Copy please view Literature in Volume 2C
Contents
11. Fire Protection – Kilnbridge Fire Protection Ltd
Contents

6311.1.
Contractors Details


6311.2.
Scope of works


6311.3.
Suppliers Directory


6311.4.
Manufacturers Directory


6411.5.
Equipment / Materials Information - Firetherm Intumescent and Insulation Limited


6411.6.
Operation / Maintenance Procedures not included in manufacturers literature


6411.7.
Recommended Spares


6411.8.
Guarantees


6411.9.
Testing and Commissioning Certificates


6511.10.
Drawings


6511.11.
Residual Risk


6511.12.
Safety Information relating to any maintenance / operation tools left on site


6511.13.
Other Information


6511.14.
Manufacturers Literature




Fire Protection
11.1. Contractors Details

Kilnbridge Fire Protection Ltd

McDermott House

South Crescent

Cody Road Business Park

London

E16 4TL

Daniel Elias

Tel: 020 7511 1888

Email: daniel.elias@kilnbridge.com

11.2. Scope of works

The works involve the supply of labour, plant and materials to install passive fire penetration seals to walls, floors and then like. All installed as per manufacturer’s recommendation and conforming to BS476.
11.3. Suppliers Directory

N/A
11.4. Manufacturers Directory

	Manufacturer Name
	Details

	Firetherm Intumescent and Insulation Limited
	Unit F, Acorn Industrial Park, 

Crayford Road, 

Crayford

Kent, 

DA1 4FT


Fire Protection
11.5. Equipment / Materials Information - Firetherm Intumescent and Insulation Limited 
	Description of Item
	Intubatt 2

	Model / Part Number
	Intubatt 2

	Location installed
	Wall Openings

	Data
	See Attached Files at end of section


	Description of Item
	Intumastic

	Model / Part Number
	Intumastic

	Location installed
	Around Fire Penetration Seals and to Door Joints

	Data
	See Attached Files at end of section


	Description of Item
	Intucompound

	Model / Part Number
	Intucompound

	Location installed
	Floor Openings 

	Data
	See Attached Files at end of section


11.6. Operation / Maintenance Procedures not included in manufacturers literature

This product is maintenance free and will last the life of the building.  Should the structure be altered then any damage must be repaired by an approved applicator, to maintain its integrity.

11.7. Recommended Spares

N/A
11.8. Guarantees

N/A

11.9. Testing and Commissioning Certificates

Fire Protection Certificates
See Attached File
For Hard Copy please view Certificates in Volume 2A 

Fire Protection
11.10. Drawings

N/A

11.11. Residual Risk

Dismantling:

May cause irritation by mechanical action.

Cutting and handling may create dust. High dust levels may irritate the throat or eyes. PPE should be worn at all times during handling

11.12. Safety Information relating to any maintenance / operation tools left on site

N/A
11.13. Other Information

N/A
11.14. Manufacturers Literature

Intubatt Product Data Sheet, Safety Data Sheet, Coshh Assesment

Intumastic Product Data Sheet, Safety Data Sheet, Coshh Assesment

Intucompound Product Data Sheet, Safety Data Sheet, Coshh Assesment

See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
12. Fire Suppression – Flamefast Ltd
Contents

6712.1.
Contractors Details


6712.2.
Scope of works


6712.3.
Suppliers Directory


6712.4.
Manufacturers Directory


6712.5.
Equipment / Materials Information – Flamefast Ltd


6712.6.
Equipment / Materials Information – Dr Sthamer Hamburg


6812.7.
Operation / Maintenance Procedures not included in manufacturers literature


6912.8.
Recommended Spares


6912.9.
Guarantees


6912.10.
Testing and Commissioning Certificates


7012.11.
Drawings


7012.12.
Residual Risk


7012.13.
Safety Information relating to any maintenance / operation tools left on site


7012.14.
Other Information


7012.15.
Manufacturers Literature




Fire Suppression
12.1. Contractors Details

Flamefast Ltd

Unit 9, Brunel Close, 

Park Farm Industrial Estate, 

Wellingborough, 

Northants, NN8 6QX

Nigel Roddie

Tel: 01933 420733/ 07827 945284

Email: nigel@flamefast.co.uk

12.2. Scope of works

Design, supply and installation of kitchen fire suppression systems in to selected apartments.

12.3. Suppliers Directory

N/A
12.4. Manufacturers Directory

	Manufacturer Name
	Details

	Flamefast Ltd


	Unit 9, Brunel Close, 

Park Farm Industrial Estate, 

Wellingborough, 

Northants, NN8 6QX

Tel: 01933 420733

	Dr Sthamer Hamburg
	Fabrik chemischer Präparate von Dr. R. Sthamer GmbH & Co. KG

Liebigstraße 5

D-22113 Hamburg

Deutschland

Telephone +49 (0)40/736168-0

http://sthamer.com

Emergency telephone +49 (0)40/736168-0


12.5. Equipment / Materials Information – Flamefast Ltd
	Description of Item
	Kitchensafe Fire Suppression System

	Model / Part Number
	KSC01

	Location installed
	Selected Apartments

	Data
	See Attached Files at end of section


12.6. Equipment / Materials Information – Dr Sthamer Hamburg 
	Description of Item
	Fire Extinguishing Agent

	Model / Part Number
	Fettex

	Location installed
	Fire Suppression System

	Data
	See Attached Files at end of section


Fire Suppression
12.7. Operation / Maintenance Procedures not included in manufacturers literature

Never use hash chemicals or water to clean the sensor as this can cause damage to the system and possible unwanted activation
Never cover the sensor as this severely reduces the system’s ability to recognize fire conditions. 

Never leave cooking unattended. 

Never leave any ring of the cooker on without a filled pan covering it. 

Never put hot items underneath the sensor. 

Never use any other kind of cooking equipment on top of the cook range. 

Never try to access inside the control unit
Kitchensafe Fire Suppression System Operation & Maintenance Manual

See Attached Files
Fire Suppression
12.8. Recommended Spares

N/A
12.9. Guarantees

12 Month guarantee from date of commissioning
12.10. Testing and Commissioning Certificates

Kitchensafe Certificate

See Attached File
For Hard Copy please view Certificates in Volume 2A
Fire Suppression
12.11. Drawings

N/A

12.12. Residual Risk

Never cover the sensor as this severely reduces the system’s ability to recognize fire conditions. 

Never leave cooking unattended. 

Never leave any ring of the cooker on without a filled pan covering it. 

Never put hot items underneath the sensor. 

Never use any other kind of cooking equipment on top of the cook range. 

Never try to access inside the control unit.
12.13. Safety Information relating to any maintenance / operation tools left on site

N/A
12.14. Other Information

N/A
12.15. Manufacturers Literature

Kitchensafe Data Sheet 
Fettex Safety Data Sheet

See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
13. Decorations – LG Decorating
Contents

7213.1.
Contractors Details


7213.2.
Scope of works


7213.3.
Suppliers Directory


7213.4.
Manufacturers Directory


7313.5.
Equipment / Materials Information – Dulux ICI


7313.6.
Equipment / Materials Information – Brian Yates


7413.7.
Equipment / Materials Information – Tektura Wall Coverings


7413.8.
Operation / Maintenance Procedures not included in manufacturers literature


7413.9.
Recommended Spares


7413.10.
Guarantees


7413.11.
Testing and Commissioning Certificates


7413.12.
Drawings


7513.13.
Residual Risk


7513.14.
Safety Information relating to any maintenance / operation tools left on site


7513.15.
Other Information


7513.16.
Manufacturers Literature




Decorations
13.1. Contractors Details

LG Decorating

Unit 19,

Space Business Centre,

Knights Road, 

Strood,

Kent,

ME2 2BF

Director

Luke Godden

Tel: 01634 292 056/ 07852 899 080

Email: lukegodden@lgdecorating.com

13.2. Scope of works

To prepare and decorate as follows:

All walls in rooms, corridors and Staircases Dulux Vinyl Matt – Colour Code: 30YY 67 084

All Ceilings in rooms, corridors and staircase  - Dulux Ultra Matt – Colour Code: White

All window boards in rooms – Dulux Quick Drying Satinwood Colour Code: Pure Brilliant White

Wall paper all room head board rooms in Rooms – Brian Yates Ref: Waves WAA183

Wall 08 in Reception  - Wall paper – Tektura Ref: Breezin 7824
Wall 09 in Reception  - Wall paper – Tektura Ref: Triogy 16258
Vaults in basement Dulux weathersheild smooth Masonry – Colour Code: Pure Brilliant White

Apartments in Basement Dulux Vinyl Matt – Colour Code: Pure Brilliant White
Woodwork in Basement Dulux Diamond EggShell  – Colour Code: Pure Brilliant White

Mezzanine Floor Dulux Metalsheild Satin – Colour Code: Pure Brilliant White

Metal staircase Metalsheild Satin – Colour Code: 90yr73029
13.3. Suppliers Directory

N/A
13.4. Manufacturers Directory

	Manufacturer Name
	Details

	Dulux ICI Akzo Nobel
	Wexham Road , 

Slough

SL2 5DS

Tel: 08457697668

e-mail:info@duluxtrade.co.uk

	Brian Yates
	Lansil Way 

Caton Road 

Lancaster

LA1 3QY
Tel:01524350355

Fax:01524322322

e-mail:Enquiries@brian-yates.co.uk

	Tektura Wall coverings 


	3 Harbour Exchange Square 

London 

E14 
Tel:02075363311


Decorations
13.5. Equipment / Materials Information – Dulux ICI
	Description of Item
	Dulux Vinyl Matt 

	Model / Part Number
	Colour Code: 30YY 67 084

	Location installed
	Walls

	Data
	See Attached Files at end of section


	Description of Item
	Dulux Ultra Matt

	Model / Part Number
	Colour Code: White

	Location installed
	Ceilings

	Data
	See Attached Files at end of section


	Description of Item
	Dulux Quick Drying Satinwood 

	Model / Part Number
	Colour Code: Pure Brilliant White

	Location installed
	Window Boards

	Data
	See Attached Files at end of section


	Description of Item
	Weathershield 

	Model / Part Number
	Colour Code: Pure Brilliant White

	Location installed
	Vaults in Basement

	Data
	See Attached Files at end of section


	Description of Item
	Dulux Vinyl Matt 

	Model / Part Number
	Colour Code: Pure Brilliant White

	Location installed
	Apartments in Basement

	Data
	See Attached Files at end of section


	Description of Item
	Dulux Diamond EggShell 

	Model / Part Number
	Colour Code: Pure Brilliant White

	Location installed
	Woodwork in Basement

	Data
	See Attached Files at end of section


	Description of Item
	Dulux MetalShield

	Model / Part Number
	Colour Code: Pure Brilliant White

	Location installed
	Mezzanine Floor

	Data
	See Attached Files at end of section


	Description of Item
	Dulux MetalShield

	Model / Part Number
	Colour Code: 90yr73029

	Location installed
	Metal staircase

	Data
	See Attached Files at end of section


13.6. Equipment / Materials Information – Brian Yates
	Description of Item
	Wallpaper

	Model / Part Number
	Ref: Waves WAA183

	Location installed
	room head board rooms in Rooms 

	Data
	See Attached Files at end of section


Decorations
13.7. Equipment / Materials Information – Tektura Wall Coverings

	Description of Item
	Wallpaper

	Model / Part Number
	Ref: Breezin 7824

	Location installed
	Reception W08 

	Data
	See Attached Files at end of section


	Description of Item
	Wallpaper

	Model / Part Number
	Ref: Triogy 16258

	Location installed
	Reception W09 

	Data
	See Attached Files at end of section


13.8. Operation / Maintenance Procedures not included in manufacturers literature

If area has a dirty mark wipe down with a damp cloth . 

To re-paint all walls: Make sure all area is dry fill any defect allow to dry then rub down and spot in. Then paint one full coat corner to corner to give a good even finish. 

If wall paper gets damaged. Strip all wall and re paper in line with manufacturers recommendations.

Wall paper Maintenance:

Fabric-backed vinyls offer an easy-clean finish, and high resistance to knocks and scrapes. They are designed to withstand high traffic levels, and will not tear easily. With regular cleaning they will retain their original appearance for many years depending on area of use.
Always carry out a trial in an inconspicuous area first, to ensure cleaning agent suitable. Clean with a mild non-soapy detergent with soft cloth, sponge or soft bristle brush to prevent build up of dirt and staining. Avoid polishes and abrasive cleaning agents as they will cause build up of dirt in the surface texture, and can also damage metallic finishes. Avoid strong active solvent cleaners as they can stain and damage the vinyl surface. Always clean from the skirting level upwards. Rinse thoroughly with clean water. Individual stains should be removed as quickly as possible. This wallcovering contains antimicrobials which guard against mildew and bacterial growth.

13.9. Recommended Spares

N/A
13.10. Guarantees

N/A
13.11. Testing and Commissioning Certificates

N/A
13.12. Drawings

N/A

Decorations
13.13. Residual Risk

N/A

13.14. Safety Information relating to any maintenance / operation tools left on site

N/A

13.15. Other Information

N/A

13.16. Manufacturers Literature

Dulux Vinyl Matt Data Sheets

Dulux Ultra Matt Data Sheets

Dulux Quick Drying Satinwood Data Sheets

Dulux Weathershield Data Sheets

Dulux Diamond EggShell Data Sheets

Dulux Metalshield Satin Data Sheets

Tektura Technical and Maintenance Details

See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
14. Door Locks – NSP Security Ltd
Contents

7714.1.
Contractors Details


7714.2.
Scope of works


7714.3.
Suppliers Directory


7714.4.
Manufacturers Directory


7814.5.
Equipment / Materials Information – NSP Security Ltd


7814.6.
Operation / Maintenance Procedures not included in manufacturers literature


7914.7.
Recommended Spares


7914.8.
Guarantees


8014.9.
Testing and Commissioning Certificates


8014.10.
Drawings


8114.11.
Residual Risk


8114.12.
Safety Information relating to any maintenance / operation tools left on site


8114.13.
Other Information


8114.14.
Manufacturers Literature




Door Locks
14.1. Contractors Details

NSP Security Ltd

Devonshire Business Park, 

Chester Road, 

Borehamwood 

WD6 1NA

Olulade Emmanuel

Tel: 020 8736 0380

Email: o.emmanuel@nspsecurity.com

14.2. Scope of works

To supply and install Locksets to Bedrooms as follows:

All materials were distributed by NSP operatives to the working areas.  NSP Europe operatives began by removing any existing lock and keys.  They then proceeded in preparing the door, setting up the necessary equipment, ensuring that the jig and router were fully functional.  Each lockset is handed in the same way as the door is swung and the normal method for preparing the doors is for the lock holes to be made using an electrical routing power tool (completed by Others). The lockset’s keep is fitted by NSP operatives in the same way, with the frame prepared by others, using a router and guide.

Offline door installation – 105 doors

14.3. Suppliers Directory

N/A
14.4. Manufacturers Directory

	Manufacturer Name
	Details

	NSP Security Ltd


	Devonshire Business Park, 

Chester Road, 

Borehamwood 

WD6 1NA

Olulade Emmanuel

Tel: 020 8736 0380

Email: o.emmanuel@nspsecurity.com




Door Locks
14.5. Equipment / Materials Information – NSP Security Ltd
	Description of Item
	Locksets

	Model / Part Number
	SMF02-814-ANSI-LH /RH

	Location installed
	Bedroom Doors

	Data
	See Attached Files at end of section


	Description of Item
	Door Handles

	Model / Part Number
	S1 - H13 HANDLESET

	Location installed
	Bedroom Doors

	Data
	See Attached Files at end of section


	Description of Item
	NSP Software

	Model / Part Number
	SOFT01

	Location installed
	To PC

	Data
	See Attached Files at end of section


	Description of Item
	Energy Saving devices

	Model / Part Number
	SMF01B-ES

	Location installed
	Bedrooms

	Data
	See Attached Files at end of section


	Description of Item
	Encoder for writing cards

	Model / Part Number
	SMFENC

	Location installed
	Connected to PC

	Data
	See Attached Files at end of section


	Description of Item
	Key Cards for Bedrooms

	Model / Part Number
	SMFCARDS

	Location installed
	Bedroom Doors

	Data
	See Attached Files at end of section


	Description of Item
	Energy Saving devices

	Model / Part Number
	SMF01B-ES

	Location installed
	Bedrooms

	Data
	See Attached Files at end of section


14.6. Operation / Maintenance Procedures not included in manufacturers literature

NSP User Manual

See Attached Files
Door Locks
14.7. Recommended Spares

We would recommend that AA Batteries are held on site as a precaution as each door reader lock requires x 4.

14.8. Guarantees

NSP Warranty

See Attached File
Door Locks
14.9. Testing and Commissioning Certificates

Not Applicable

14.10. Drawings

Lockset Layout

SMF02-814-ANSI-LH
See Attached File
For Hard Copy please view Drawings in Volume 2B
Door Locks
14.11. Residual Risk

Not Applicable

14.12. Safety Information relating to any maintenance / operation tools left on site

Not Applicable

14.13. Other Information

Not Applicable

14.14. Manufacturers Literature

Not Applicable

Contents
15. Sealants – O’Flynn Sealant Ltd
Contents

8315.1.
Contractors Details


8315.2.
Scope of works


8315.3.
Suppliers Directory


8315.4.
Manufacturers Directory


8315.5.
Equipment / Materials Information – Geocel Ltd


8315.6.
Operation / Maintenance Procedures not included in manufacturers literature


8315.7.
Recommended Spares


8415.8.
Guarantees


8415.9.
Testing and Commissioning Certificates


8415.10.
Drawings


8415.11.
Residual Risk


8415.12.
Safety Information relating to any maintenance / operation tools left on site


8415.13.
Other Information


8415.14.
Manufacturers Literature




Sealants
15.1. Contractors Details

O’Flynn Sealant Ltd

108 Sandford Road, 

Chelmsford, 

Essex, 

CM2 6DH

Kevin O’Flynn

Tel: 01268 466215/ 07767 835094

Email:oflynnsealant@blueyonder.co.uk

15.2. Scope of works

To supply and install Mastic to Bathrooms.

15.3. Suppliers Directory

N/A
15.4. Manufacturers Directory

	Manufacturer Name
	Details

	Geocel Ltd
	Western Wood Way
Langage Science Park

Plympton 

Plymouth

PL7 5BG

Tel: 01752 202060


15.5. Equipment / Materials Information – Geocel Ltd
	Description of Item
	Silicone

	Model / Part Number
	HM

	Location installed
	Bathrooms

	Data
	See Attached Files at end of section


15.6. Operation / Maintenance Procedures not included in manufacturers literature

N/A
15.7. Recommended Spares

N/A

Sealants
15.8. Guarantees

N/A
15.9. Testing and Commissioning Certificates

N/A
15.10. Drawings

N/A
15.11. Residual Risk

N/A
15.12. Safety Information relating to any maintenance / operation tools left on site

N/A
15.13. Other Information

N/A
15.14. Manufacturers Literature

HM Silicone Safety Data Sheet

See Attached File
For Hard Copy please view Literature in Volume 2C
Contents
16. Joinery – Regal Construction 2000 Ltd
Contents

8616.1.
Contractors Details


8616.2.
Scope of works


8616.3.
Suppliers Directory


8716.4.
Manufacturers Directory


8816.5.
Manufacturers Information – Cotswold Doors Ltd


8816.6.
Manufacturers Information – T & A Architectural Ironmongery


8916.7.
Manufacturers Information – L & G Forest Products Ltd


8916.8.
Manufacturers Information – Howdens Kitchen Ltd


9016.9.
Manufacturers Information – V J Technology


9016.10.
Operation / Maintenance Procedures not included in manufacturers literature


9116.11.
Recommended Spares


9116.12.
Guarantees


9216.13.
Testing and Commissioning Certificates


9316.14.
Drawings


9416.15.
Residual Risk


9416.16.
Safety Information relating to any maintenance / operation tools left on site


9416.17.
Other Information


9416.18.
Manufacturers Literature




Joinery
16.1. Contractors Details

Regal Construction 2000 Ltd

Unit 12, 211-213 Kingsbury Road

London

NW9 8AQ

Alan Butler

Tel: 020 8200 6037/ 07786 937553

Email: alanbutler@regal2000ltd.co.uk

16.2. Scope of works

1) Supply and install Egger Laminated Door sets to Rooms, En-suites & communal areas.(Cotswold Doors)

2) Supply and install stained Oak skirting to match laminate to rooms ad communal areas.(Cotswold Doors)

3) Supply and install ironmongery to all doors excluding vingcard locks to bedroom doors.(T & A Architectural Ironmongery)

4) Supply and install MDF primed window boards to new windows on all levels.( L & G Forest Products Ltd)

5) Supply and install timber framework and MDF to form bulkheads above windows on Levels 1 -4. (L & G Forest Products Ltd)

6) Supply and install temporary fire doors and frames to unit 59 stairs. (L & G Forest Products Ltd)

7) Supply and install new timber framework and reinstate existing window panelling in unit 59.

8) Supply new replacement window panelling and framework to existing windows on level 1 in unit 59.( Midland Stairs & Joinery)

9) Supply and install new stairs from 4th to 5th in unit 45, split level stairs to rear on Unit 51 and escape stairs.(Midland Stairs & Joinery)

10) Replacement glazing to existing windows in unit 59 sashes.(M & M Glass)

11) Supply and install softwood frames, plywood flush doors, stops to Basement and two ground floor flats. (L & G Forest Products Ltd)

12) Supply and install MDF primed torus skirting and Ogee architrave to basement and two ground flats. (L & G Forest Products Ltd)

13) Supply and install Howdens Greenwich White range kitchen units with Jamocha laminated worktops and appliances.

16.3. Suppliers Directory

N/A
Joinery
16.4. Manufacturers Directory

	Manufacturer Name
	Details

	Cotswold Doors Ltd
	Unit A3b, Lakeside Business Park, Broadway Lane, South Cerney, Gloucestershire, GL7 5XL

Tel No: 01285 863 222

Fax No: 01285 869 064

Web: www.cotswoldmanufacturing.co.uk 

e-mail:gwaddell0@googlemail.com

	T & A Architectural Ironmongery Ltd
	Unit 9, Gryphon Industrial Park, Porters Wood, St Albans, Herts, AL3 6XZ

Tel No:01727 867887

Fax No: 01727 867666

e-mail: ian@ta-architectural.co.uk

	L & G Forest Products Ltd
	Hayes Depot, Appin House, Stewart Quay, Printing House Lane, Hayes, Middx, UB3 1AP

Tel No: 020 8848 6222

Fax No: 020 8848 6221

e-mail: david@lgfp.co.uk
Web:www.lgfp.co.uk

	M & M Glass Designs
	South America House, 102 High Street, Kent BR4 0NF.

Tel No: 020 7639 0601

Fax No: 020 7681 1542

e-mail: Mitchell.joanne@btconnect.com

	Howdens Kitchen Ltd
	Colindale Depot, Unit 70, Capitol Way Industrial Park, Capitol Way, London, NW9 0EW.

Tel No: 020 8905 8456

Fax No: 020 8905 8390

e-mail: Colindale@howdens.com
Web: www.howdens.com

	Midland Stairs & Joinery Ltd
	Unit 9a, Budrooke Road, Budrooke Industrial Estate, Warwickshire, CV34 5XH

Tel No:01926499111

e-mail: stuart@warwickshirejoinery.co.uk


Joinery
16.5. Manufacturers Information – Cotswold Doors Ltd

	Description of Item
	Egger Laminate Door Sets

	Model / Part Number
	N/A

	Location installed / used
	Ground to Level 5

	Data
	As Cotswold Test Certificates & Technical Information Attached


	Description of Item
	Stained Oak Skirting

	Model / Part Number
	N/A

	Location installed / used
	Ground to Level 5

	Data
	As Manufacturers Information Attached


	Description of Item
	Door Hinge

	Model / Part Number
	Eurospec

	Location installed / used
	All Door Sets

	Data
	As Test Report & Guarantee Attached


	Description of Item
	Drop Seals

	Model / Part Number
	STS-ST422

	Location installed / used
	Bedroom Doors

	Data
	As STS Manufacturers Information Attached


16.6. Manufacturers Information – T & A Architectural Ironmongery

	Description of Item
	Bathroom Thumbturn

	Model / Part Number
	Steelworx SWL Thumbturn 

	Location installed / used
	En-Suite / Bathroom Doors

	Data
	As Manufacturers Data Sheet


	Description of Item
	Lock Case

	Model / Part Number
	Eurospec DLS7860WC 

	Location installed / used
	En-Suite/ Bathroom

	Data
	As Manufacturer Data Sheet


	Description of Item
	Floor Spring

	Model / Part Number
	GEZE TS500

	Location installed / used
	Communal Corridor Doors

	Data
	As manufacturers information attached


	Description of Item
	Concealed Closer

	Model / Part Number
	Powermatic R100

	Location installed / used
	Bedroom Doors

	Data
	As Manufacturers Information Attached


Joinery
16.7. Manufacturers Information – L & G Forest Products Ltd

	Description of Item
	Treated Timber

	Model / Part Number
	N/A

	Location installed / used
	Bulkheads & Timber Frameworks 

	Data
	As Attached COSH Data Sheet


	Description of Item
	MDF

	Model / Part Number
	N/A

	Location installed / used
	Bulkheads, Window Boards & Basement Skirting and Architrave

	Data
	As Attached COSH Data Sheet


	Description of Item
	Plywood

	Model / Part Number
	N/A

	Location installed / used
	Various areas

	Data
	As Attached COSH Data Sheet


16.8. Manufacturers Information – Howdens Kitchen Ltd

	Description of Item
	Basement Kitchen Units

	Model / Part Number
	Greenwich Range- White

	Location installed / used
	Basement Kitchens

	Data
	As Howdens Technical Data


	Description of Item
	Worktops & Upstands

	Model / Part Number
	Lamocha Range

	Location installed / used
	Basement Kitchens

	Data
	As Howdens Technical Data


	Description of Item
	Oven & Extractor Hood

	Model / Part Number
	Lamona

	Location installed / used
	Basement Kitchen

	Data
	N/A


	Description of Item
	Sink Basin

	Model / Part Number
	Ashworth

	Location installed / used
	Basement Kitchen

	Data
	N/A


	Description of Item
	Taps

	Model / Part Number
	Ashworth Monobloc

	Location installed / used
	Basement Kitchen

	Data
	N/A


Joinery
16.9. Manufacturers Information – V J Technology

	Description of Item
	Paslode Nails

	Model / Part Number
	32-38mm Palsode Brad Nails

	Location installed
	Architraves & Skirting

	Data
	See COSHH Data Sheet


	Description of Item
	PVA Glue

	Model / Part Number
	N/A

	Location installed
	Skirting & Architrave

	Data
	See COSHH Data Sheet


	Description of Item
	GRIPFIX

	Model / Part Number
	N/A

	Location installed
	Skirtings 

	Data
	See COSHH Data Sheet


16.10. Operation / Maintenance Procedures not included in manufacturers literature

PAINTED ITEMS OF JOINERY

All painted items of joinery are painted in an acid catalyst paint finish this forms a tough durable finish which requires very little maintenance. Any surface cleaning required should be carried out using a warm water/mild detergent mix applied and dried off with a soft clean cloth. Household spray polishes may also be used but care must be taken as excessive polishing may alter the sheen appearance, The use of abrasive cream cleaners is not recommended as they can damage the surface of the paint finish, any heavy marking may be removed with a little spirit based cleaner applied with a soft clean cloth.

POLISHED TIMBER JOINERY

Polished timber joinery requires virtually no maintenance other than periodical cleaning; this can be achieved by gently wiping over the surface with a damp soft clean cloth. The materials used are spray applied and cure to a hard durable finish, which will resist both the effects of heat and residues of water. The use of abrasive cream cleaners is not recommended as they can damage the surface of the polished finish, any heavy marking may be removed with a little spirit based cleaner applied with a soft clean cloth carefully following manufacturer’s instructions.

SOFTWOOD JOINERY

Softwood is used for the construction of a wide range of joinery both internal and external some of the more common ones being doors, frames and windows etc. It is brought in as unsorted redwood which it means it has been graded to be of a suitable quality to be relatively free of defects, however all softwood are subject to knots shakes and some splits. Softwood will take stain and paint /clear finishes as required following the manufacturers recommendations for the appropriate product.

When using softwood for external joinery it is recommended to add further protection to add to the life of the timber those being either a spray or brush on wood preserver or to get even better results the timber may be pressure treated which forces the product deeper into the fibres of the wood 

Once the joinery has been fitted it will require no maintenance other than redecoration at periodical intervals depending on position of joinery and type of use.

Cotswold Doors Maintenance Details

Care of Timber Doorsets
Howdens Care & Maintenance
See Attached Files
Joinery
16.11. Recommended Spares

Below Spares That May Be Required:

1)
Lever Handles to En-Suite/Bathroom Doors

2)
Powermatic R100 concealed closer

3)
Lorient Intumescent Strip

4)
STS- Drop Seal

5)
T Bar Kitchen Handles
16.12. Guarantees

Eurospec Hinge Guarantee

See Attached Files
Joinery
16.13. Testing and Commissioning Certificates

Eurospec Hinge Test Report

FD Door & Door Manufacturing Certification Cotswold Doors Certification
L & G Forest Products FSC Certificate

Howdens FSC Certificate

See Attached Files
For Hard Copy please view Certificates in Volume 2A
Joinery
16.14. Drawings

All Drawings Supplied by The Architect and built to these drawings.

	Title
	Drawing No 

	Howdens Various
	Basement Kitchen Drawings


See Attached Files
For Hard Copy please view Drawings in Volume 2B
Joinery
16.15. Residual Risk

Doors:

RECOMMENDATION AND ADVICE ON SAFE HANDLING AND USE OF DOORS

The weight of FD30 fire doors are heavier than would normally be handled by one person. Doors should be handled by two people.

When handling timber products splinters may occur. These should be removed immediately and wound treated with an antiseptic.
16.16. Safety Information relating to any maintenance / operation tools left on site

Not Applicable

16.17. Other Information

Not Applicable
16.18. Manufacturers Literature

Cotswold Doors Technical Details
Strebord Technical Details & Specifications
STS Drop Seals
 Data Sheet
Geze TS500 Floor Spring Technical Information
Eurospec Lock Case Drawing

Steelworx SWL Thumbturn Technical & Technical Drawing
Howdens Lamocha Worktop & Upstand & Greenwich White Kitchen Range Technical Data Sheet
Bostike Gripfix Safety Data Sheet

Timber Adhesive Safety Data Sheet

Fuel Cells Safety Data Sheet

Timber and MDF Safety Data Sheets


See Attached Files

For Hard Copy please view Literature in Volume 2C
Contents
17. Facade Repairs – Restore London Ltd
Contents

9617.1.
Contractors Details


9617.2.
Scope of works


9717.3.
Suppliers Directory


9717.4.
Manufacturers Directory


9817.5.
Equipment / Materials Information – CEMEX UK


9817.6.
Equipment / Materials Information – Promain UK Limited


9817.7.
Equipment / Materials Information – COO-VAR


9817.8.
Equipment / Materials Information – Poupret


9817.9.
Equipment / Materials Information – Crown Paints Ltd


9917.10.
Operation / Maintenance Procedures not included in manufacturers literature


9917.11.
Recommended Spares


9917.12.
Guarantees


9917.13.
Testing and Commissioning Certificates


9917.14.
Drawings


9917.15.
Residual Risk


9917.16.
Safety Information relating to any maintenance / operation tools left on site


9917.17.
Other Information


9917.18.
Manufacturers Literature




Façade Repairs
17.1. Contractors Details

Restore London Ltd

49 Queen Victoria Street, 

London, 

EC4N 4SA

Steve Morgan

Tel: 020 7653 1968/ 07947 894223

Email: steve.morgan@restore-london.co.uk 

17.2. Scope of works

Exterior Façade Render Repairs:

The scope of render removal was to remove one top layer followed by it’s under layer. In some areas there was two more layers below which will be left in place, providing it was deemed to be of sound base for new render to be applied. 

There were existing RWPs that were removed by the principal contractor (PC) prior to render removal. There are various areas, where temporary electrics cables were fixed to the work area and these were also removed by PC prior to work commencement. Redundant holes through brick substrate were recorded by way of photographs and/or marked up drawings and repaired once the PC had approved repair. Redundant overflow pipes were removed by Restore after approval from PC and recorded as before. Redundant cables were removed and fixing holes repaired once PC had given assurance and proof that they were not ‘live’ and this was also recorded as before mentioned. All records of repairs have been forwarded to PC for record purposes. Restoration of Stucco render and ornate mouldings also took place as well as repairs to window reveals, heads and cills.

Exterior Façade Brickwork Repairs:

Restore London were given a schedule of repairs drawings by the PC’s Architect, ‘SWEETT’, which outlined which areas were to be repaired. This entailed cutting back the existing faulty pointing to a specified depth and applying new mortar. Cracks in brickwork were opened up and pointed or, where specified, Helibars were installed across the cracks as a form of strengthening. Old air vents, old drainage pipes and other redundant fixings were cut out of the brickwork and the remaining holes were repaired by inserting bricks. Some areas of defective brickwork were cut out and replaced or bricks refaced. Other areas/holes were instructed to be filled with mortar.

Exterior Façade Decorations:

Restore London were instructed to decorate all new and existing external rendered surfaces to all elevations. The process was to clean and prepare all surfaces by filling imperfections with an external filler which was then rubbed down to a smooth finish matching surrounding surface, the surface then had a stabilising solution applied, followed by 1no undercoat and 2no top coats of approved external paint of an approved colour.

Façade Repairs
17.3. Suppliers Directory

	Supplier Name
	Details

	Build Base – Sand, Cement, NHL 3.5 Lime
	One, 5520, Oxford Business Park, 
Cowley, 
Oxford, 
OX4 2LL 
www.buildbase.co.uk

	Chris Steven – Decorating supplies
	204 Colney Hatch Lane, 
Muswell Hill
London 
N10 1ET
Tel: 020 8442 2844


17.4. Manufacturers Directory

	Manufacturer Name
	Details

	CEMEX UK
	Operations Coldharbour Lane, 
Thorpe, 
Egham. 
Surrey. 
TW20 8TD 
www.cemex.co.uk/contactus

	COO-VAR
	Lockwood Street

Hull

East Yorkshire

HU2 OHN England

Email: info@coo-var.co.uk

Telephone: +44 (0) 1482 328053

	Crown Paints Ltd
	Crown House 

Hollins Road
Darwen 

Lancashire 

BB3 0BG. 

Tel: 03300240303

	Promain UK Limited


	Industrial Paints and Coatings

Promain House

Knowl Piece Business Park

Hitchin

Hertfordshire

SG4 0TY 
Tel: 01462 421 333

	TOUPRET UK Limited
	 Winchester House 
259-269 Old Marylebone Road 
LONDON 
NW1 5RA

Phone : 020 7170 4165


Façade Repairs
17.5. Equipment / Materials Information – CEMEX UK
	Description of Item
	Cement

	Model / Part Number
	Rugby Portland Cement

	Location installed
	Façade Brickwork and Render Repairs

	Data
	See Attached Files at end of section


	Description of Item
	Lime

	Model / Part Number
	Rugby 3.5 

	Location installed
	House 59 render and brick repairs

	Data
	See Attached Files at end of section


17.6. Equipment / Materials Information – Promain UK Limited 
	Description of Item
	Specialist Water Based Paint and Surface Coating Remover

	Model / Part Number
	Centrecoat Prostrip 

	Location installed
	Front façade 1st floor existing painted surfaces

	Data
	See Attached Files at end of section


17.7. Equipment / Materials Information – COO-VAR

	Description of Item
	Render Stabiliser

	Model / Part Number
	340/V601/36

	Location installed
	Facade newly rendered surfaces

	Data
	See Attached Files at end of section


17.8. Equipment / Materials Information – Poupret

	Description of Item
	Exterior Filler

	Model / Part Number
	Touprelith-F

	Location installed
	Filling external façade cracks and imperfections before painting

	Data
	See Attached Files at end of section


17.9. Equipment / Materials Information – Crown Paints Ltd

	Description of Item
	Sandtex Exterior Masonry paint

	Model / Part Number
	Colour = Magnolia

	Location installed
	External Rendered Surfaces

	Data
	See Attached Files at end of section


Façade Repairs
17.10. Operation / Maintenance Procedures not included in manufacturers literature

Repaint as and when necessary.
17.11. Recommended Spares

N/A
17.12. Guarantees

N/A
17.13. Testing and Commissioning Certificates

N/A

17.14. Drawings

N/A
17.15. Residual Risk

N/A
17.16. Safety Information relating to any maintenance / operation tools left on site

N/A
17.17. Other Information

N/A
17.18. Manufacturers Literature

3.5 Hydrated Lime Safety Data

Rugby Cement Safety Data

Centrecoat Prostrip Tech info sheet and safety data sheet

Coo-Var stabiliser Safety Data sheet

Sandtex masonry paint Safety data sheet

Touprelith-F Exterior Filler Safety data and tech data sheet
See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
18. Man Safe System – Safesite Ltd
Contents

10118.1.
Contractors Details


10118.2.
Scope of works


10118.3.
Suppliers Directory


10118.4.
Manufacturers Directory


10118.5.
Equipment / Materials Information – Safesite Ltd


10118.6.
Operation / Maintenance Procedures not included in manufacturers literature


10218.7.
Recommended Spares


10218.8.
Guarantees


10318.9.
Testing and Commissioning Certificates


10418.10.
Drawings


10418.11.
Residual Risk


10418.12.
Safety Information relating to any maintenance / operation tools left on site


10418.13.
Other Information


10418.14.
Manufacturers Literature




Man Safe System
18.1. Contractors Details

Safesite Ltd

Priestley Way, 

Crawley, 

West Sussex, 

RH10 9NA

Terry Creed

Tel: 01293 529977/ 07921 723589

Email: tcreed@safesite.co.uk

18.2. Scope of works

To supply and install a Horizontal Life Line system to the roof area.

18.3. Suppliers Directory

N/A
18.4. Manufacturers Directory

	Manufacturer Name
	Details

	Safesite Ltd


	Priestley Way, 

Crawley, 

West Sussex, 

RH10 9NA

Terry Creed

Tel: 01293 529977/ 07921 723589

Email: tcreed@safesite.co.uk


18.5. Equipment / Materials Information – Safesite Ltd
	Description of Item
	Horizontal Life Line

	Model / Part Number
	KeeLine

	Location installed
	Roof

	Data
	See Attached Files at end of section


18.6. Operation / Maintenance Procedures not included in manufacturers literature

Horizontal Life Line – KeeLine User & Maintenance Manual

See Attached Files
Man Safe System
18.7. Recommended Spares

N/A
18.8. Guarantees

5 Year Warranty

This protects against defects in materials or workmanship, including installation, as long as the life line system has been recertified annually by an Approved Safesite Installer. 
See Attached File
Man Safe System
18.9. Testing and Commissioning Certificates

Periodic inspections by a competent person are required under Regulation 5 of the Workplace (Health Safety & Welfare) Regulations, BS EN 365 & BS 7883.

The frequency will depend upon environment, location and usage, but should be at least every 12 months.
Installation Certificate

See Attached File
For Hard Copy please view Certificates in Volume 2A
Man Safe System
18.10. Drawings

N/A
18.11. Residual Risk

Please refer to “Height Regulations” for any future works relating to maintenance or removal of equipment at high level.  Always use safety systems that are in place.

18.12. Safety Information relating to any maintenance / operation tools left on site

N/A
18.13. Other Information

Horizontal Life Line:

Primary components connecting to the cable are fabricated from 316 Grade Stainless Steel. Secondary components are fabricated from steel to BS EN 10025 S275 Grade and S275JO Grade. All steel components are then hot dipped galvanised to BS EN ISO 1461. All fixings are A2 Grade Stainless Steel. The cable consists of an 8mm 316 grade stainless steel 7 x 7 structure with breaking resistance of >37kN. The system is pre-tensioned to 80daN.
18.14. Manufacturers Literature

N/A
Contents
19. Glass Doors – Saralan Glass Designs Ltd
Contents

10619.1.
Contractors Details


10619.2.
Scope of works


10619.3.
Suppliers Directory


10619.4.
Manufacturers Directory


10719.5.
Equipment / Materials Information – Saralan Glass Design


10719.6.
Equipment / Materials Information – Geze UK Ltd


10719.7.
Operation / Maintenance Procedures not included in manufacturers literature


10819.8.
Recommended Spares


10819.9.
Guarantees


10819.10.
Testing and Commissioning Certificates


10919.11.
Drawings


11019.12.
Residual Risk


11019.13.
Safety Information relating to any maintenance / operation tools left on site


11019.14.
Other Information


11019.15.
Manufacturers Literature




Glass Doors
19.1. Contractors Details

Saralan Glass Design Ltd

Unit 5, Harlescott Barns, 

March Way, 

Shrewsbury, 

SY1 3SY

Tim Owen

Tel:01743 468711/ 07779 331154

Email: tim@saralan.co.uk

19.2. Scope of works

To Supply and install Single Glazed Internal Screens Consisting of 15mm Toughened Clear Float Glass in Internal Lobby.

Glazing Channels

Extruded aluminum sections polyester powder

Finish colour :- RAL 9007 metallic grey

Design Wide Laod 0.6kN/M² Non Load Bearing

Door Operator

Geze slimline SL NT sliding operator with 12mm Toughened glass door leafs & 12mm glass pocket Screens with patch fittings

Activation

Imonitored combined activation & safety sensors

Safety devices battery pack for fail open in event of power failure.

Locking- none

Top & bottom rail covers brushed stainless steel

19.3. Suppliers Directory

N/A
19.4. Manufacturers Directory

	Manufacturer Name
	Details

	Saralan Glass Design
	Unit 5 Harlescott Barns

March Way

Shewsbury

SY1 3SY

Tel: 01743 468711

	GEZE UK Ltd.


	Blenheim Way

Fradley Park

Lichfield

Staffordshire WS13 8SY

Tel. +44 15434430 00


Glass Doors
19.5. Equipment / Materials Information – Saralan Glass Design

	Description of Item
	Single Glazed Internal Screens

	Model / Part Number
	Bespoke as per Drawings

	Location installed
	As per Drawings

	Data
	See Files at end of File


19.6. Equipment / Materials Information – Geze UK Ltd

	Description of Item
	Sliding Door Operator

	Model / Part Number
	Slimline SL NT

	Location installed
	Glazed Screens

	Data
	See Files at end of File


19.7. Operation / Maintenance Procedures not included in manufacturers literature

Saralan Operation & Maintenance Manual

Geze Operation information & emergency call out information


See Attached Files

Glass Doors
19.8. Recommended Spares

N/A

19.9. Guarantees

N/A

19.10. Testing and Commissioning Certificates

Auto Door Commissioning Certificate
See Attached File
For Hard Copy please view Certificates in Volume 2A 

Glass Doors
19.11. Drawings

	Title
	Drawing No 

	Glass Plans & Elevations
	182-E01 - 

	Glass Sections 
	182-S01

	Glass Elevations Sections
	182-D01

	Head & Base Details
	182-D2

	Corner & Side Details
	182-D3

	Door Opening Jamb Details
	182-D4


See Attached Files
For Hard Copy please view Drawings in Volume 2B
Glass Doors
19.12. Residual Risk

Care when cleaning glazing and doors that may have sharp edges.

Risk: Glass Breakages and Replacements  

It is a very real risk that any glazing installed, whether internally or externally can break. The risks are reduced by pre-determined Glass and Glazing Federation guidelines that state only certain types of glass can be installed in certain arrangements and only at a particular height. 

In the event that any of the glass on this contract should break it is highly probable it has been caused by means of a collision with elements beyond our control. 

It is recommended immediately upon discovering broken glass that the client should contact a reputable glazing contractor 

Be sure to have the area surrounding the shattered glazing thoroughly swept to ensure that is left free from any falling glass debris.

RECOMMENDATION AND ADVICE ON SAFE HANDLING AND USE OF DOORS

The weight of doors are heavier than would normally be handled by one person. Doors should be handled by two people.

When handling timber products splinters may occur. These should be removed immediately and wound treated with an antiseptic.

19.13. Safety Information relating to any maintenance / operation tools left on site

N/A
19.14. Other Information

N/A
19.15. Manufacturers Literature

Geze Automatic Sliding Doors
COSHH / Safety Data Sheets for Arbosil 1096 Silicone Sealant.
See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
20. Bar – ServaClean Ltd
Contents

11220.1.
Contractors Details


11220.2.
Scope of works


11320.3.
Suppliers Directory


11320.4.
Manufacturers Directory


11320.5.
Equipment / Materials Information - ServaClean Limited


11320.6.
Equipment / Materials Information – Weald Refrigeration Ltd


11320.7.
Operation / Maintenance Procedures not included in manufacturers literature


11420.8.
Recommended Spares


11420.9.
Guarantees


11420.10.
Testing and Commissioning Certificates


11420.11.
Drawings


11520.12.
Residual Risk


11520.13.
Safety Information relating to any maintenance / operation tools left on site


11520.14.
Other Information


11520.15.
Manufacturers Literature




Bar
20.1. Contractors Details

ServaClean Limited

T/a ServaClean Bar Systems, 

Gower Street, 

Bradford, 

West Yorkshire, 

BD5 7JF

Neil Britton

Tel: 01274 390038

Email: barplan@servaclean.co.uk

20.2. Scope of works

Supply and install of stainless steel bar counter building system.

See Attached File
Bar
20.3. Suppliers Directory

N/A
20.4. Manufacturers Directory

	Manufacturer Name
	Details

	ServaClean Limited


	Gower Street, 

Bradford, 

West Yorkshire, 

BD5 7JF

Tel: 01274 390038

	Weald Refrigeration Ltd
	Unit 5, Vestry Ind. Est, Otford Road,

Sevenoaks, TN14 5EL Tel 01732 452050

E mail sales@wealdrefrigeration.com


20.5. Equipment / Materials Information - ServaClean Limited
	Description of Item
	Stainless Steel Bar Counter 

	Model / Part Number
	Bespoke Drawing No 8841-01-B

	Location installed
	Reception Lounge Bar

	Data
	See Attached Files at end of section


20.6. Equipment / Materials Information – Weald Refrigeration Ltd

	Description of Item
	Bottle Cooler

	Model / Part Number
	Millennium Range - XMR135SR2-GGS-SS-BBB 

	Location installed
	Reception Lounge Bar

	Data
	See Attached Files at end of section


20.7. Operation / Maintenance Procedures not included in manufacturers literature

Bottle Cooler Instructions

Care, Maintenance and Adjustment of Bar

See Attached Files
Bar
20.8. Recommended Spares

N/A
20.9. Guarantees

Bottle Cooler 2 year parts warranty.

Stainless Steel Bar Counter 12 months
20.10. Testing and Commissioning Certificates

N/A
20.11. Drawings

	Title
	Drawing No 

	Reception Lounge Bar Counter with Remote Glasswash Facility
	8841-01-C – As Installed


See Attached File
For Hard Copy please view Drawings in Volume 2B
Bar
20.12. Residual Risk

N/A
20.13. Safety Information relating to any maintenance / operation tools left on site

N/A
20.14. Other Information

N/A
20.15. Manufacturers Literature

N/A
Contents
21. Builders Work – SHACA Construction Ltd
Contents

11721.1.
Contractors Details


11721.2.
Scope of works


11721.3.
Suppliers Directory


11821.4.
Manufacturers Directory


11821.5.
Equipment / Materials Information – ACO Technologies plc


11821.6.
Equipment / Materials Information – L&G Forest Products


11921.7.
Equipment / Materials Information – Manhole Covers Ltd


11921.8.
Equipment / Materials Information – Plastech Southern


11921.9.
Operation / Maintenance Procedures not included in manufacturers literature


11921.10.
Recommended Spares


11921.11.
Guarantees


11921.12.
Testing and Commissioning Certificates


12021.13.
Drawings


12021.14.
Residual Risk


12021.15.
Safety Information relating to any maintenance / operation tools left on site


12021.16.
Other Information


12021.17.
Manufacturers Literature




Builders Work
21.1. Contractors Details

SHACA Construction Ltd

Lower Ground Floor, Entrance C, 

Rembrandt House, 

Whippendell Road, 

Watford, 

Hertfordshire, WD18 7PG

Deep Karawadra

Tel: 01923 630100/ 07921 099874

Email: deep@shaca.co.uk

21.2. Scope of works

To supply and install drainage system as follows

Excavate track for drainage < 200 nominal size, earthwork support next to existing slabs, grade bottoms; disposal of arisings off site (full  backfill with granular material above beds and Slab thickness ne 100mm thick)

100mm UPVC Drainage pipe 

Extra; bends/long radius bends (ref TSA item 2/18Q)

Extra; branches (ref TSA item 2/18Q)

Extra; pop ups (ref TSA item 2/18Q)

450mm UPVC inspection chamber ne 500mm deep

525mm sealed cover infilled with recess cover

Connect into existing drainage runs

Reinstate- Slab 100mm thick- new DPM on slab by others after drainage is complete 

Excavate lift pit base

break out concrete slab not exceeding 100mm

Disposal

Sand blinding to formation

Polythene

Insulation by others

Formwork to sides of base ne 600mm

Fix reinforcement- material free issue by paragon

Supply and place C40 pre mixed bags to base

Hydrophilic strip by grace

Cast drainage run into RC base

21.3. Suppliers Directory

N/A
Builders Work
21.4. Manufacturers Directory

	Manufacturer Name
	Details

	ACO Technologies plc
	ACO Business Park 

Hitchin Road 

Shefford 

Bedfordshire 

SG17 5TE 

Tel: 01462 816666

	L&G Forest Products
	Unit 3 Aerodome Estate 

Detling, 

Maidstone, 

Kent 

ME14 3HU 

Tel: 01622 738246

	Manhole Covers Ltd
	Unit 30 

Airfield Ind Est

Cheddington La, 

Tring 

HP23 4QR

Tel: 01296 668850

	Plastech Southern
	Mill Race 

New Road 

Aldham 

Colchester 

Essex 

CO6 3QT 

Tel: 01206 243358


21.5. Equipment / Materials Information – ACO Technologies plc
	Description of Item
	Channel Drainage

	Model / Part Number
	Modular 125 Stainless Steel Channel Grating

	Location installed
	Drainage System

	Data
	See Attached Files at end of section


21.6. Equipment / Materials Information – L&G Forest Products 
	Description of Item
	Timber & Ply

	Model / Part Number
	N/A

	Location installed
	Drainage System

	Data
	See Attached Files at end of section


Builders Work
21.7. Equipment / Materials Information – Manhole Covers Ltd 
	Description of Item
	Stainless Steel Edge Recessed Manhole Covers 10t

	Model / Part Number
	Ref MHC7124

Sizes:

450x450mm

600x450mm

	Location installed
	Drainage System

	Data
	See Attached Files at end of section


	Description of Item
	Aluminium Edge Recessed Manhole Cover

	Model / Part Number
	Ref MHC AL2

Size:

450x450mm

	Location installed
	Drainage System

	Data
	See Attached Files at end of section


	Data
	See Attached Files at end of section


21.8. Equipment / Materials Information – Plastech Southern 
	Description of Item
	Upvc Underground Drainage

	Model / Part Number
	110mm dia

	Location installed
	Drainage System

	Data
	See Attached Files at end of section


21.9. Operation / Maintenance Procedures not included in manufacturers literature

The Foul Air Traps are fully removable to allow for rodding of connecting pipework and easy cleaning of the gully body. 
21.10. Recommended Spares

N/A
21.11. Guarantees

N/A
21.12. Testing and Commissioning Certificates

L&G Forest Products FSC Certificate

See Attached Files
For Hard Copy please view Certificates in Volume 2A 

Builders Work
21.13. Drawings

N/A
21.14. Residual Risk

N/A
21.15. Safety Information relating to any maintenance / operation tools left on site

N/A
21.16. Other Information

N/A
21.17. Manufacturers Literature

ACO Channel Technical Details
Manhole Cover Technical Details

Recessed Stainless Steel Edge Technical Details

Upvc Underground Drainage Technical Details
See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
22. Tiling – Stone & Ceramics Ltd
Contents

12222.1.
Contractors Details


12222.2.
Scope of works


12222.3.
Suppliers Directory


12222.4.
Manufacturers Directory


12322.5.
Equipment / Materials Information – Square Foot Ceramics


12322.6.
Equipment / Materials Information – Porcelanosa


12322.7.
Equipment / Materials Information – Mapie UK Ltd


12322.8.
Operation / Maintenance Procedures not included in manufacturers literature


12422.9.
Recommended Spares


12422.10.
Guarantees


12422.11.
Testing and Commissioning Certificates


12422.12.
Drawings


12422.13.
Residual Risk


12422.14.
Safety Information relating to any maintenance / operation tools left on site


12422.15.
Other Information


12422.16.
Manufacturers Literature




Tiling 
22.1. Contractors Details

Stone & Ceramics Ltd

3 Kingside, 

Woolwich, 


London 

SE18 5BX

Tel: 020 8855 5400

22.2. Scope of works

To supply and install the following to the Lower Ground to 5th Floor – Bathrooms:

600x300x10mm Meteor Perla –Floors

316x592x10mm Marmi China White – Walls

Feature 900x316mm Borneo Blue – Walls

200x316mm Jersey Mix Mosaic White Grey & Black – Kitchen Splashback

22.3. Suppliers Directory

N/A
22.4. Manufacturers Directory

	Manufacturer Name
	Details

	Porcelanosa
	93-99 Goswell Road,

Clerkenwell, 

London, EC1V 7EY

08444 818959

	Square Foot Ceramics
	Square Foot Ceramics Ltd
Unit C43 Barwell Business Park, Leatherhead Rd, Chessington, Surrey, KT9 2NY.

0208 397 6284

	Mapei U.K. Ltd
	Mapei House 
Steel Park Road 
Halesowen
West Midlands
B62 8HD 
Phone 44-121-5086970


Tiling
22.5. Equipment / Materials Information – Square Foot Ceramics
	Description of Item
	Floor Tiles

	Model / Part Number
	600x300x10mm Meteor Perla

	Location installed
	5th Floor Bathrooms

	Data
	See Attached Files at end of section


22.6. Equipment / Materials Information – Porcelanosa 
	Description of Item
	Feature Wall Tiles

	Model / Part Number
	316x592x10mm Marmi China White

	Location installed
	5th Floor Bathrooms

	Data
	See Attached Files at end of section


	Description of Item
	Wall Tiles

	Model / Part Number
	900x316mm Borneo Blue

	Location installed
	5th Floor Bathrooms

	Data
	See Attached Files at end of section


	Description of Item
	Kitchen Splash Back Tiles

	Model / Part Number
	200x316mm Jersey Mix Mosaic White Grey & Black

	Location installed
	5th Floor

	Data
	See Attached Files at end of section


22.7. Equipment / Materials Information – Mapie UK Ltd

	Description of Item
	Adhesive

	Model / Part Number
	Grey

	Location installed
	5th Floor Bathrooms

	Data
	See Attached Files at end of section


	Description of Item
	Grout

	Model / Part Number
	Ultracolour Plus

	Location installed
	5th Floor Bathrooms

	Data
	See Attached Files at end of section


22.8. Operation / Maintenance Procedures not included in manufacturers literature

Maintenance & Cleaning of Ceramic & Porcelain
See Attached Files
Tiling 
22.9. Recommended Spares

Not Applicable
22.10. Guarantees

Not Applicable
22.11. Testing and Commissioning Certificates

Not Applicable
22.12. Drawings

Not Applicable
22.13. Residual Risk

Not Applicable
22.14. Safety Information relating to any maintenance / operation tools left on site

Not Applicable
22.15. Other Information

Not Applicable
22.16. Manufacturers Literature

Mapi Ultracolour Plus and Keraquick Technical and Safety Data Sheets
Porcelanosa Technical Details
See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
23. Steelwork – Warwick Engineering Ltd
Contents

12623.1.
Contractors Details


12623.2.
Scope of works


12623.3.
Suppliers Directory


12623.4.
Manufacturers Directory


12723.5.
Equipment / Materials Information – Warwick Engineering Ltd


12723.6.
Operation / Maintenance Procedures not included in manufacturers literature


12723.7.
Recommended Spares


12723.8.
Guarantees


12723.9.
Testing and Commissioning Certificates


12823.10.
Drawings


12923.11.
Residual Risk


12923.12.
Safety Information relating to any maintenance / operation tools left on site


12923.13.
Other Information


12923.14.
Manufacturers Literature




Steelwork
23.1. Contractors Details

Warwick Engineering Ltd

67A Whappstown Road, 

Moorfields, 

Ballymena, 

BT42 3DB

Cecil Warwick

Tel: 028 2583 1409

Email: cecil@warwick-engineering.com

23.2. Scope of works

To supply and install alterations to Stair Connections:

All steel work is grade s275 - primed

All fixings are grade 8.8 - zinc

Setting out of stair is based on levels Provided by Phil Jones of Paragon.

BALUSTRADE SPECIFICATION:

All balustrade handrails & posts stainless steel grade 304 satin.

All glass 10mm thk clear toughened glass.

Balustrade posts chs 48.3*2.5 s/ s304

Balustrade handrail 25*6mm flt to hold d50mm oak.

25*6mm flt drilled & csk to suit 10mm wood screw at 400mm ctrs.

Balustrade post bolt & face fixed to stringer using s/ s bracket as agreed.

Wall rail mounted using d90*6mm disc with 3no. Wood screws & 12mm spigot.

All as per Drawings.

23.3. Suppliers Directory

N/A
23.4. Manufacturers Directory

	Manufacturer Name
	Details

	Warwick Engineering Ltd


	67A Whappstown Road, 

Moorfields, 

Ballymena, 

BT42 3DB

Cecil Warwick

Tel: 028 2583 1409

Email: cecil@warwick-engineering.com


Steelwork
23.5. Equipment / Materials Information – Warwick Engineering Ltd
	Description of Item
	Steelwork

	Model / Part Number
	Bespoke

	Location installed
	Staircases – as per Drawings

	Data
	See Attached Files at end of section


	Description of Item
	Balustrade

	Model / Part Number
	Bespoke

	Location installed
	Staircases – as per Drawings

	Data
	See Attached Files at end of section


23.6. Operation / Maintenance Procedures not included in manufacturers literature

Inspection

A monthly regime will be required to inspect for any loose fixings, damage, scratches or signs of deterioration of any kind.  The monthly inspections should be documented in a “Record maintenance folder” and repaired / rectified within 15 working days to avoid further damage and maintain structural integrity.  

Servicing

All bolts and fixings should be checked for tightness every 12 months and any loose items found should be documented and tightened as necessary.  Any loose bolts or fixings should be further checked every 6 months.  

GLASS AND GLAZING

Once the glass has been fitted there will be no maintenance required. The glass surfaces may be cleaned by using a warm water and mild detergent mix applied to the face of the glass and removed with a neoprene blade wiping the solution to the bottom of the pane of glass where any excess fluid can be removed with a soft cloth

Alternatively a suitable domestic spray applied glass cleaner can be used following manufacturers recommendations.

23.7. Recommended Spares

N/A

23.8. Guarantees

N/A
23.9. Testing and Commissioning Certificates

N/A
Steelwork
23.10. Drawings

	Title
	Drawing No 

	WE-DWG-14865-XL03228-G1
	G (1)

	WE-DWG-14865-XL03228-G2
	G (2)

	WE-DWG-14865-XL03228-G3
	G (3)

	Stair Connection Calculations
	02-12 13115015


See Attached Files
For Hard Copy please view Drawings in Volume 2B
Steelwork
23.11. Residual Risk

Due to the weight of the materials, proper lifting equipment and additional staff should be available and always used to ensure the safety of operatives and to fulfil the requirements of the “Manual Handling Operations Regulations 1992”, in lifting weights of more than 25kg.

Glazing 

It is a very real risk that any glazing installed, whether internally or externally can break. The risks are reduced by pre-determined Glass and Glazing Federation guidelines that state only certain types of glass can be installed in certain arrangements and only at a particular height. 

In the event that any of the glass on this contract should break it is highly probable it has been caused by means of a collision with elements beyond our control. 

It is recommended immediately upon discovering broken glass that the client should contact a reputable glazing contractor 

Be sure to have the area surrounding the shattered glazing thoroughly swept to ensure that is left free from any falling glass debris. 

For the specification of glass fitted on this contact please refer to the specification section in this O&M we recommended that like for like should be used at all times.

23.12. Safety Information relating to any maintenance / operation tools left on site

N/A

23.13. Other Information

N/A

23.14. Manufacturers Literature

N/A
Contents
24. Waterproofing – Harrison Waterproofing Ltd
Contents

13124.1.
Contractors Details


13124.2.
Scope of works


13124.3.
Suppliers Directory


13124.4.
Manufacturers Directory


13224.5.
Equipment / Materials Information – Sika Ltd


13224.6.
Equipment / Materials Information - Triton Chemical Manufacturing Co Ltd


13224.7.
Operation / Maintenance Procedures not included in manufacturers literature


13224.8.
Recommended Spares


13224.9.
Guarantees


13324.10.
Testing and Commissioning Certificates


13324.11.
Drawings


13424.12.
Residual Risk


13424.13.
Safety Information relating to any maintenance / operation tools left on site


13424.14.
Other Information


13424.15.
Manufacturers Literature




Waterproofing
24.1. Contractors Details

Harrison Waterproofing Ltd

Springfield, 

Golden Lane, 

Clacton-On-Sea, 

Essex, CO16 0LD

Tracey Moorhouse

Tel: 01255 863898/ 07956 879348

Email: tracey.moorhouse@harrisonwaterproofing.co.uk

24.2. Scope of works

To supply and install Waterproofing and Damp Proofing as follows:

Hacking off to walls as indicated on the Drawings

Bush hammering to walls & pressure wash down

DPC Injection to walls

Sika 1 pre-bagged system to walls as indicated on the Drawings

24.3. Suppliers Directory

N/A
24.4. Manufacturers Directory

	Manufacturer Name
	Details

	Sika Ltd
	Watchmead
Welwyn Garden City

Hertfordshire

AL7 1BQ

Tel: 01707 394 444

	Triton Chemical Manufacturing Co Ltd
	129 Felixstowe Road
Abbeywood

Londno

SE2 9SG

Tel: 0208 310 3929


Waterproofing 
24.5. Equipment / Materials Information – Sika Ltd 
	Description of Item
	Pre-bagged Waterproofing System

	Model / Part Number
	Sika 1

	Location installed
	Walls

	Data
	See Attached Files at end of section


24.6. Equipment / Materials Information - Triton Chemical Manufacturing Co Ltd 
	Description of Item
	DPC Injection System

	Model / Part Number
	Tri-Cream

	Location installed
	Walls

	Data
	See Attached Files at end of section


24.7. Operation / Maintenance Procedures not included in manufacturers literature

Not applicable to these works.

DO NOT PUNCTURE ANY WATERPROOFING OR DAMPROOFING SYSTEM WITHOUT SEEKING ADVICE

24.8.  Recommended Spares

N/A
24.9. Guarantees

Damproofing 10 Year Guarantee
Structural Waterproofing Warranty – 10 Years
See Attached Files
Waterproofing 

24.10. Testing and Commissioning Certificates

N/A

24.11. Drawings

	Title
	Drawing No 

	Fire Damage Reinstatement
	104922-001


See Attached File
For Hard Copy please view Drawings in Volume 2B
Waterproofing
24.12. Residual Risk

N/A

24.13. Safety Information relating to any maintenance / operation tools left on site

N/A

24.14. Other Information

N/A

24.15. Manufacturers Literature

Sika Product & Safety Data Sheets
Triton DPC Injection Safety Data Sheet
See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
25. Toilet IPS & Cubicles – Excelsior Panelling Systems Ltd

Contents

13625.1.
Contractors Details


13625.2.
Scope of works


13725.3.
Suppliers Directory


13725.4.
Manufacturers Directory


13725.5.
Equipment / Materials Information – I.D.S


13725.6.
Equipment / Materials Information – Victoria Veneered Doors Ltd


13725.7.
Equipment / Materials Information – Access Hardware


13725.8.
Equipment / Materials Information – Cobtec


13825.9.
Equipment / Materials Information – Just Granite


13825.10.
Operation / Maintenance Procedures not included in manufacturers literature


13925.11.
Recommended Spares


13925.12.
Guarantees


14025.13.
Testing and Commissioning Certificates


14125.14.
Drawings


14225.15.
Residual Risk


14325.16.
Safety Information relating to any maintenance / operation tools left on site


14325.17.
Other Information


14325.18.
Manufacturers Literature




Toilet Cubicles
25.1. Contractors Details

Excelsior Panelling Systems Ltd 

Unit 2 Woodside Industrial Estate, 

Pedmore Road, 

Dudley, West Mids, 

DY2 0RL

Barry Tulloch

Tel: 01384 267770

Email: barry@excelsiorps.co.uk

25.2. Scope of works

To supply and install Polyrey IPS & Toilet Cubicles.

Male & Female WC’s:

Poylrey B015 Blanc Meniurs Partitions.  

Pilasters - straight grain American Black Walnut (horizontal)

Doors - straight grain American Black Walnut (horizontal)

Hardware - Stainless Steel 

Duct panel - Polyrey B015 Blanc Menuires

Shadow gap - Polyrey B015 Banc Menuires

Vanity top - 6338 Woodlands

Vanity panels - Straight Grain American Black Walnut (horizontal)

Vanity frame - Polyrey B015 Blanc Menuires

As per attached Schedule

See Attached Files
Toilet Cubicles
25.3. Suppliers Directory

N/A
25.4. Manufacturers Directory

	Manufacturer Name
	Details

	I.D.S
	St Davids Way, Bermuda Park, Nuneaton, Warwickshire, CV10 7SD

T: 02476 325031 F: 02476 321132

	Victoria Veneered Doors Ltd
	Long Wood Rd, Manchester M17 1PZ

T: 0161 8778612

	Just Granite
	Bowlers Barn, Pillaton Grange, Pillaton, Penkridge, Stafford, ST19 5RZ

T: 01785 711 096 F: 01785 711 180

	Access Hardware
	Green Lane, Studley, Warwickshire, B80 7EY

T: 01527 852 948 F: 01527 854 192

	Cobtec
	Unit 15, Dabble Duck Industrial Estate, Shildon, Co. Durham, DL4 2QN

T: 01388 775 584 F: 01388 778 893


25.5. Equipment / Materials Information – I.D.S
	Description of Item
	Cubicles/ Panels and Frames

	Model / Part Number
	Poylrey B015 Blanc Meniurs Partitions.  

	Location installed
	Male & Female Toilets

	Data
	See Files at end of File


	Description of Item
	Vanity Panels

	Model / Part Number
	straight grain American Black Walnut (horizontal)

	Location installed
	Male & Female Toilets

	Data
	See Files at end of File


25.6. Equipment / Materials Information – Victoria Veneered Doors Ltd

	Description of Item
	Real Wood Veneering Doors

	Model / Part Number
	Flush 44 Cubicle straight grain American Black Walnut (horizontal)

	Location installed
	Male & Female Toilets

	Data
	See Files at end of File


25.7. Equipment / Materials Information – Access Hardware

	Description of Item
	Hardware

	Model / Part Number
	Stainless Steel

	Location installed
	Male & Female Toilets

	Data
	See Files at end of File


25.8. Equipment / Materials Information – Cobtec

	Description of Item
	Hardware

	Model / Part Number
	SAA

	Location installed
	Male & Female Toilets

	Data
	See Files at end of File


Toilet Cubicles
25.9. Equipment / Materials Information – Just Granite 
	Description of Item
	Vanity Top

	Model / Part Number
	CeasarStone 6338 Woodlands

	Location installed
	Male & Female Toilets

	Data
	See Files at end of File


25.10. Operation / Maintenance Procedures not included in manufacturers literature

Cleaning, Care & Maintenance Instructions

See Attached Files
Toilet Cubicles
25.11. Recommended Spares

N/A

25.12. Guarantees

Polyrey Warranty

See Attached File
Toilet Cubicles
25.13. Testing and Commissioning Certificates

FSC & PEFC Certificates

See Attached Files
For Hard Copy please view Certificates in Volume 2A 

Toilet Cubicles
25.14. Drawings

	Title
	Drawing No 

	Male/ Female WC Layout
	28563.01

	Female WC Elevations
	28563.02

	Male WC Elevations
	28563.03


See Attached Files
For Hard Copy please view Drawings in Volume 2B
Toilet Cubicles
25.15. Residual Risk

Demolition

See Attached Files
Toilet Cubicles
25.16. Safety Information relating to any maintenance / operation tools left on site

N/A
25.17. Other Information

N/A
25.18. Manufacturers Literature

Polyrey Technical details
Duct Panelling Data Sheet
Flush 44 Data Sheet
Vanity Surfaces Data Sheet

Vanity Units Data Sheet

Environmental Policy

BREEAM Statement
See Attached File
For Hard Copy please view Literature in Volume 2C
Contents
26. UPVC Basement Doors – Feature Architectural Fabrications
Contents

14526.1.
Contractors Details


14526.2.
Scope of works


14526.3.
Suppliers Directory


14526.4.
Manufacturers Directory


14626.5.
Equipment / Materials Information - Effective Innovations Limited


14626.6.
Operation / Maintenance Procedures not included in manufacturers literature


14726.7.
Recommended Spares


14726.8.
Guarantees


14826.9.
Testing and Commissioning Certificates


14826.10.
Drawings


14926.11.
Residual Risk


14926.12.
Safety Information relating to any maintenance / operation tools left on site


14926.13.
Other Information


14926.14.
Manufacturers Literature




UPVC Basement Doors 
26.1. Contractors Details

Effective Innovations Limited

T/A
Feature Architectural Fabrications.

1 Harvington Business Park,

Brampton Road,

Eastbourne,

East Sussex,

BN22 9BN

Steve Haffenden 

Tel: 01323 520 404. 

Email: steve.haffenden@feature-fabrications.co.uk.
26.2. Scope of works

To Fabricate, Install and Glaze UPVC Doors.

26.3. Suppliers Directory

N/A
26.4. Manufacturers Directory

	Manufacturer Name
	Details

	Effective innovations Ltd

T/a Feature Architectural Fabrications
	1 Harvington Business Park

Eastbourne

East Sussex

BN22 9BN

Tel: 01323 520 404

Fax: 01323 520290

Email: sales@feature-fabrications.co.uk 

www.feature-fabrications.co.uk 


UPVC Basement Doors
26.5. Equipment / Materials Information - Effective Innovations Limited
	Description of Item
	UPVC Doors

	Model / Part Number
	WHS System 10

	Location installed / used
	Flats 47,45,49 & 49C, Mezzanine Level & Mr Gill’s Office

	Data
	COSHH, Manufacturers O & M Instructions


26.6. Operation / Maintenance Procedures not included in manufacturers literature

Maintenance of Windows and Doors

Please see attached
UPVC Basement Doors
26.7. Recommended Spares

N/A
26.8. Guarantees

Warranty
Please see attached
UPVC Basement Doors
26.9. Testing and Commissioning Certificates

N/A
26.10. Drawings

	Title
	Drawing No 

	Elevations and Mr Gills Office
	A-26.01.2016 & B-03.02.2016


Please see attached
For Hard Copy please view Drawings in Volume 2B
UPVC Basement Doors
26.11. Residual Risk

N/A
26.12. Safety Information relating to any maintenance / operation tools left on site

N/A
26.13. Other Information

N/A
26.14. Manufacturers Literature

WHS System 10
WHS System 10 Brochure
Wurth Foam Data Sheet & Safety data sheet
Arbosil LM safety data sheet

Please see attached
For Hard Copy please view Literature in Volume 2C
Contents
27. Balustrade – Cannon Glass & Glazing Ltd

Contents

15127.1.
Contractors Details


15127.2.
Scope of works


15127.3.
Suppliers Directory


15127.4.
Manufacturers Directory


15227.5.
Equipment / Materials Information – Firman Glass


15227.6.
Equipment / Materials Information – Q Railing UK


15227.7.
Operation / Maintenance Procedures not included in manufacturers literature


15427.8.
Recommended Spares


15427.9.
Guarantees


15527.10.
Testing and Commissioning Certificates


15527.11.
Drawings


15627.12.
Residual Risk


15627.13.
Safety Information relating to any maintenance / operation tools left on site


15627.14.
Other Information


15627.15.
Manufacturers Literature




Balustrade
27.1. Contractors Details

Cannon Glass & Glazing Limited 

9 Mulberry Court

Bourne Industrial Estate

Crayford

Ken t DA1 4BF

Tel:  01322 522382

Email:  sales@cannonglass.com

27.2. Scope of works

Supply and install glass balustrade to stair S2 Glass:

10mm toughened clear float polished all round

Handrail:

Glazed clamped post system in stainless steel 304 satined

27.3. Suppliers Directory

N/A

27.4. Manufacturers Directory

TBC

	Manufacturer Name
	Details

	Firman Glass


	19 Bates Road

Harold Wood

Romford Essex RM3 0JH

Tel: 01708 374534

Fax: 01708 340511

www.firmanglass.com

	Q Railing UK


	Unit 707

Centre 500

Lowfield Drive

Wolstanton 

ST5 OUU

Newcastle Under Lyme

Tel:  0800 7814245

Fax:  0800 7814246

sales@q-railing.co.uk


Balustrade
27.5. Equipment / Materials Information – Firman Glass

	Description of Item
	Glass

	Model / Part Number
	10mm Toughened Clear Float Polished all round

	Location installed
	Balustrade to stair S2

	Data
	See Attached Files at end of section


27.6. Equipment / Materials Information – Q Railing UK

	Description of Item
	Handrail

	Model / Part Number
	Glazed clamped post system in stainless steel 304 satined

	Location installed
	Balustrade to stair S2

	Data
	See Attached Files at end of section


27.7. Operation / Maintenance Procedures not included in manufacturers literature

Cleaning of Glass 

It is recommended that glass be protected from contamination caused by building materials and methods during construction as this will greatly simplify the glass cleaning task at the end of the project. If the glass is not protected during construction then the glass and frames should be cleaned frequently during construction. Construction dust, leachate from concrete and rusting from steel can contribute to the formation of mild chemicals, which may stain or otherwise damage the glass.

Glass should be cleaned using only cleaning materials which are free of grit and debris (to avoid scratching and marking of the glass surface).

Only detergents and cleaning solutions which are recommended for cleaning glass should be used. Mild detergents are preferable.

Extra care is necessary where high performance reflective glass is installed. The coated surface can be susceptible to stains and scratches and therefore requires vigilance during the full construction process.

Temporary screens should be installed if welding, sandblasting, floor sanding, cuffing or other potentially damaging construction practices takes place near the glass.

Glass installations adjacent to concrete (e.g. concrete slab floors) require extra care and cleaning due to the abrasive nature of concrete dust.

All tradesmen should be advised to be aware of damaging the glass and windows and to leave in place any materials protecting the window or glass.

Toughened glass

The cleaning of toughened glass requires special care. The glass surface opposite the standards compliance stamp may, as a consequence of the manufacturing process, have “pick up” on the surface. “Pick up” is a deposit of very small particles of glass which are fused to the glass surface. A cleaning method which does not dislodge these particles should be employed otherwise scratching of the glass surface may result. Blades or scrapers have been known to dislodge “pick up” from the glass surface. A soft cloth, which will not dislodge “pick up” should be used. It is suggested that professional cleaners consult with their suppliers as to the suitability of available cleaning equipment, materials and methods.

Balustrade
Special products

Pilkington Activ, SolarE, Comfort Plus and Energy Advantage require specific cleaning procedures. These can be found on the Pilkington web site.(www.pilkington.com)

What Not To Do

Do not use cleaners which contain Hydrofluoric or Phosphoric acid as they are corrosive to the glass surface.

Do not clean the glass when the glass is hot or in the direct sunlight.

Do not allow cleaning solutions to contact the edges of laminated glass, insulating glass units or mirrors.

Do not store or place other material in contact with glass. This can damage the glass or create a heat trap leading to thermal breakage.

Abrasive cleaners, powder based cleaners, scouring pads or other harsh materials should not be used to clean windows or other glass products.

Avoid causing extreme temperature changes to the glass as is may lead to thermal fracture of the glass, i.e. do not splash hot water on cold glass or freezing water on hot glass.

Some tapes or adhesives can stain or damage glass surfaces. Avoid using such materials unless they are known to be easily removed.

If damage occurs

If glass is damaged or broken on site ensure that experienced glaziers are engaged to rectify the situation. Glass can be a safety hazard if not handled properly.

Glass and Painters

Paint spots have been traditionally removed using a sharp razor blade. The use of a blade can in some cases cause damage to the glass. As an alternative, investigate solvent or graffiti removal materials, ensuring that they will not damage the glass. If a blade or scraper is used then the risk of damage can be reduced by using a scraper which has a clean edge and is held at an angle of 30 degrees to the glass. Consult the supplier of the blade or scraper as to how it is best used to clean glass.

Whilst Cannon Glass have made every effort to ensure the accuracy and effectiveness of this information, Cannon Glass makes no representation as to the accuracy or effectiveness of the information and takes no responsibility for any loss, damage or injury which may be caused as a direct or indirect result of the use of this information.

Q Rail Care and Maintenance of handrail

See Attached File:
Balustrade
27.8. Recommended Spares

N/A
27.9. Guarantees

Cannon Glass & Glazing warranty
See Attached File
Balustrade
27.10. Testing and Commissioning Certificates

N/A

27.11. Drawings

	Title
	Drawing No 

	Balustrade to stair S2
	14868 01

	S2 Balustrade Plan View
	14868 02

	S2 Balustrade Details
	14868 03


See Attached Files
For Hard Copy please view Drawings in Volume 2B
Balustrade
27.12. Residual Risk

Glass Breakages and Replacements  

It is a very real risk that any glazing installed, whether internally or externally can break without warning.  The risks are reduced by pre-determined Glass and Glazing Federation guidelines that state only certain types of glass can be installed in certain arrangements and only at a particular height.  However, with regards to the system used there are virtually no risks, excluding glass breakages. 

It is recommended that immediately upon discovering broken glass, the client contacts Cannon Glass and Glazing on 01322 522382 when we will arrange an emergency call out to remove the glass. Replacement glass will be ordered immediately and having initially installed the glass Cannon Glass will be aware of the process required to remove and reinstate. 

Be sure to have the area surrounding the shattered glazing thoroughly swept to ensure left free from any flailing glass debris.  

27.13. Safety Information relating to any maintenance / operation tools left on site

N/A
27.14. Other Information

N/A
27.15. Manufacturers Literature

Q Rail Technical Details

See Attached Files
For Hard Copy please view Literature in Volume 2C
Contents
28. Roof Ladder – T&I Solutions Ltd

Contents

15828.1.
Contractors Details


15828.2.
Scope of works


15828.3.
Suppliers Directory


15828.4.
Manufacturers Directory


15828.5.
Equipment / Materials Information – T & I Solutions Ltd


15928.6.
Operation / Maintenance Procedures not included in manufacturers literature


15928.7.
Recommended Spares


15928.8.
Guarantees


15928.9.
Testing and Commissioning Certificates


15928.10.
Drawings


16028.11.
Residual Risk


16028.12.
Safety Information relating to any maintenance / operation tools left on site


16028.13.
Other Information


16028.14.
Manufacturers Literature




Roof Ladder
28.1. Contractors Details

T & I Solutions Ltd

Unit MP9a, Kirrawah

Newbourne Road

Martlesham, Suffolk

IP12 4PR

www.tandisolutions.co.uk

Tel: 01473 736 027

28.2. Scope of works

To supply and install Companionway Ladder as per Drawings

28.3. Suppliers Directory

N/A

28.4. Manufacturers Directory

	Manufacturer Name
	Details

	T & I Solutions Ltd


	Unit MP9a, Kirrawah

Newbourne Road

Martlesham, Suffolk

IP12 4PR

www.tandisolutions.co.uk

Tel: 01473 736 027


28.5. Equipment / Materials Information – T & I Solutions Ltd

	Description of Item
	Companion Ladder

	Model / Part Number
	Bespoke

	Location
	Roof

	Data
	See Drawings


Roof Ladder
28.6. Operation / Maintenance Procedures not included in manufacturers literature

INSPECTION

A monthly regime will be required to inspect for any loose fixings, damage, scratches or signs of deterioration of any kind. The monthly inspections should be documented in a “Record maintenance folder” and repaired / rectified within 15 working days to avoid further damage and maintain structural integrity. 

SERVICING

All bolts and fixings should be checked for tightness every 12 months and any loose items found should be documented and tightened as necessary. Any loose bolts or fixings should be further checked every 6 months. 

28.7. Recommended Spares

N/A

28.8. Guarantees

N/A
28.9. Testing and Commissioning Certificates

N/A

28.10. Drawings

	Title
	Drawing No 

	COMPANIONWAY LADDER
	1220116-01


See Attached Files
For Hard Copy please view Drawings in Volume 2B
Roof Ladder
28.11. Residual Risk

Please refer to “Height Regulations” for any future works relating to maintenance or removal of equipment.

Always use safety systems that are in place.

28.12. Safety Information relating to any maintenance / operation tools left on site

N/A
28.13. Other Information

N/A

28.14. Manufacturers Literature

N/A

Contents
29. Drainage Works – Clear Drains UK Ltd

Contents

16229.1.
Contractors Details


16229.2.
Scope of works


16329.3.
Report of Works Carried Out


16329.4.
Service Inspection Sheets




Drainage
29.1. Contractors Details

Clear Drains (UK) Limited

Anglo House, 

Bell Lane Office Village, 

Bell Lane, 

Amersham, 

Bucks, 

HP6 6FA   

Tel: 0333 241 2341

http://www.cleardrains.co.uk
Wayne Shurey

Project Manager

29.2. Scope of works

Works carried out at the following site By Clear Drains uk ltd

Site: Gloucester Terrace

Client: Paragon Management

This is a statement to say that Clear Drains have carried out the identified works to a fully operational standard, the works were out lined in the cctv survey and have been completed successfully. 

Works out line:

Carry out a full clean of the drainage infrastructure within Gloucester Terrace to understand the workings of the systems prior to the start of the refurbishment works

Carry out a full cctv survey of the drainage system, identify any dilapidations within the drainage infrastructure and cost for remedy, highlight any potential issue that may compromise the system and liaise information with the principle designer via Paragon

Carry out works identified in the recent cctv survey to bring the drainage infrastructure up to standard after the recent dilapidation survey, 

After completion of works on site and at the end of the refurbishment works, carry out a full clean to the drainage system, leave clean free flowing and operational.

Drainage
29.3. Report of Works Carried Out

Itemised work carried out on site by Clear Drains
	Item
	Manhole reference
	Defect
	Length
	Pipe size
	Recommendation

	Page No
	 
	 
	Mts
	Mm
	 

	PAGE 7
	FWMH1 U/S SPUR 1
	FRACTURE
	1
	100
	LINE TO BEND

	PAGE 11
	FWMH1 U/S  
	OPEN JOINT
	5
	100
	5 METRE LINER

	PAGE 17
	FWMH2 U/S SPUR 2
	SCALE, HOLE
	3
	100
	2 METRE LINER TO BEND

	PAGE 15
	FWMH2 U/S SPUR 1
	CRACKS, OFFSET JOINTS
	2
	100
	2 METRE LINER TO BEND

	PAGE 22
	FWMH2 U/S SPUR 4
	SCALE  
	2
	100
	DESCALE PLOUGH JET

	
	
	
	
	
	

	 
	 
	 
	 
	 
	TOTAL

	extra works
	carry out the full clean of the drainage within basement area
	full clean of the drainage runs remove all debris from drainage infrastructure within basement
	 
	 
	3 x days on site, 3 x  engineers, parking, congestion charge all included within costs

	extra works
	carry out cleaning of the gullies as instructed by client on site
	 
	 
	 
	1 x day on site, 3 x engineers full day,


Works were successfully carried out on site and were signed off by site managers and client Paragon, all works were paid in full and site was left to a fully operational standard.

Works were over seen by project manager of clear drains Wayne Shurey

29.4. Service Inspection Sheets

Service Inspection Sheets


See Attached Files

For Hard Copy please view Commissioning in in Volume 2A
Contents
30. Secondary Glazing – Selectaglaze Ltd

Contents

16530.1.
Contractors Details


16530.2.
Scope of works


16530.3.
Suppliers Directory


16530.4.
Manufacturers Directory


16630.5.
Equipment / Materials Information – Selectaglaze


16630.6.
Operation / Maintenance Procedures not included in manufacturers literature


16730.7.
Recommended Spares


16730.8.
Guarantees


16730.9.
Testing and Commissioning Certificates


16730.10.
Drawings


16730.11.
Residual Risk


16730.12.
Safety Information relating to any maintenance / operation tools left on site


16730.13.
Other Information


16730.14.
Manufacturers Literature




Secondary Glazing
30.1. Contractors Details

Selectaglaze Ltd

Alban Park

Hatfield Road

St Albans

Herts

AL4 0JJ

Tel: 01727 837271

30.2. Scope of works

To design supply and install Secondary Glazing to no 59 on Ground/ 1st and 2nd floors to the following specification:

Aluminium Sections:




Extruded to exclusive Selectaglaze

designs from BS 6063 T6 alloy to BS

EN755

Finish:






Polyester Powder Paint to BS 6496

9910 - semi gloss standard white

Glazing:





In accordance with BS 6262

Glass Description:




In accordance with BS 6262

4mm Toughened

6mm Toughened

30.3. Suppliers Directory

N/A

30.4. Manufacturers Directory

	Manufacturer Name
	Details

	Selectaglaze Ltd


	Alban Park

Hatfield Road

St Albans

Herts

AL4 0JJ

Tel: 01727 837271




Secondary Glazing
30.5. Equipment / Materials Information – Selectaglaze

	Description of Item
	Windows

	Model / Part Number
	Series 20 Vertical Sliding Unit

	Location installed
	No 59

	Data
	See Attached Files at end of section


	Description of Item
	Windows

	Model / Part Number
	Series 90 Heavy Duty Vertical Sliding Unit

	Location installed
	No 59

	Data
	See Attached Files at end of section


	Window
	Unit
	Series
	Design
	Option
	Height
	Width
	Glass
	Weight Kg
	Glass Kg

	W59(2j03
	1
	20
	2-pane counterbalance 
	Top-out / Bottom-in
	2005
	1225
	4mm Toughened
	29.79
	21.15

	W59(2j02
	2
	20
	2-pane counterbalance 
	Top-out / Bottom-in
	1955
	1355
	4mm Toughened
	32.08
	22.96

	W59(2j01
	3
	20
	2-pane counterbalance
	Top-out / Bottom-in
	1974
	1355
	4mm Toughened
	32.35
	23.19

	W59(lj03
	4
	90
	Heavy Duty 2-pane Vertical Slider
	Top-out / Bottom-in
	2678
	1182
	6mm Toughened
	58.76
	38.29

	W59(lj02
	5
	90
	Heavy Duty 2-pane Vertical Slider
	Top-out / Bottom-in
	3022
	1237
	6mm Toughened
	68.35
	45.91

	W59(lj01
	6
	90
	Heavy Duty 2-pane Vertical Slider
	Top-out / Bottom-in
	3015
	1242
	6mm Toughened
	68.48
	46.02

	W59(Oj02
	7.1
	20
	2-pane counterbalance 
	Top-out / Bottom-in
	2238
	1406
	4mm Toughened
	37.4
	27.59

	W59(Oj01
	8
	20
	2-pane counterbalance
	Top-out / Bottom-in
	2450
	448
	4mm Toughened
	14.47
	8.14

	W59(Oj01
	9
	20
	2-pane counterbalance
	Top-out / Bottom-in
	2450
	920
	4mm Toughened
	27.38
	19.09

	W59(Oj01
	10
	20
	2-pane counterbalance

Top-out
	Top-out / Bottom-in
	2450
	448
	4mm Toughened
	14.47
	8.14


30.6. Operation / Maintenance Procedures not included in manufacturers literature

Operation & Maintenance Instructions

See Attached Files
Secondary Glazing
30.7. Recommended Spares

N/A
30.8. Guarantees

Selectaglaze 10 Year Warranty – please view Warranty Certificate in the full O&M Manual

30.9. Testing and Commissioning Certificates

N/A

30.10. Drawings

N/A

30.11. Residual Risk

Risk Assessment

In accordance with BS 6262, glass which extends below 800mm from finished floor level will be specified as safety glass.

Raised access floors fitted at a later date will require the glass to be reassessed for possible replacement or application of safety film.

Window cleaners must make the same risk assessment when cleaning secondary glazing as for primary windows. In particular, ensure that the outer window is firmly closed to avoid accidental opening. Safety harnesses will have to be worn if there is a risk of a fall.

When removing secondary glazing panels for cleaning or maintenance, there must be a full manual handling assessment, taking into account the weight, size and shape of the panel and its position relative to the floor level.

A minimum of two personnel should be employed when lifting wide or heavy panels or those at Significant heights. The use of appropriate non-slip gloves is recommended.

Whenever glass edges become exposed, gloves must be worn and if a panel is to be de-glazed, wrist and foot protection must also be worn.

30.12. Safety Information relating to any maintenance / operation tools left on site

N/A
30.13. Other Information

N/A

30.14. Manufacturers Literature

N/A
PAGE  

